# ANNEX II + III :	 TECHNICAL SPECIFICATIONS + TECHNICAL OFFER

- Contract title: Construction of systems for prevention and early warning of floods	p 1/11

Publication reference: CB006.1.12.072-PP1-03

Columns 1-2 should be completed by the Contracting Authority

Columns 3-4 should be completed by the tenderer

Column 5 is reserved for the evaluation committee

Annex III - the Contractor's technical offer

The tenderers are requested to complete the template on the next pages:

- Column 2 is completed by the Contracting Authority shows the required specifications (not to be modified by the tenderer),

- Column 3 is to be filled in by the tenderer and must detail what is offered (for example the words “compliant” or “yes” are not sufficient)

- Column 4 allows the tenderer to make comments on its proposed supply and to make eventual references to the documentation

The eventual documentation supplied should clearly indicate (highlight, mark) the models offered and the options included, if any, so that the evaluators can see the exact configuration. Offers that do not permit to identify precisely the models and the specifications may be rejected by the evaluation committee.

The offer must be clear enough to allow the evaluators to make an easy comparison between the requested specifications and the offered specifications.

- LOT 2 Supply of joint integrated system for early warning of floods

| 1. Item Number | 2. Specifications Required | 3. Specifications Offered | 4. Notes, remarks, ref to documentation | 5. Evaluation Committee’s notes |
| --- | --- | --- | --- | --- |
| 1. | Supply of 1 pc. joint integrated system for early warning of floods The information system should allow for upgrade and the addition of supplementing components (air, waters, soils, refuse, noise etc.). The following modules of the system should be provided: 1.1.1. Administrative module In this module all the functions connected with the administration of the software solution should be studied such as: administration of users; administration of user permissions; review and reports about the interactions of the users with the system; management and monitoring of the system and the system parameters; monitoring of the solution – monitoring of the issues encountered during the system operation; management and storage of nomenclatures; 1.1.2. Communications module It provides information from the monitoring points situated in the identified critical flood areas on the territory of the municipality, as well as transmitting information to the municipality and the national system for water management. This module will guarantee the collection of information from the monitoring points at certain periods of time and from the positioned cameras for surveillance of the monitoring stations and the water levels and the sending of the information in real time by the communication medium. The communication software should ensure the real time transmission and validation of the data collected by the monitoring points to the communication center which shall be situated within the technical infrastructure of the municipality. - Processing and visualization module It includes processing of all the information collected. The module should provide the technological tools with the following functionalities as a minimum: - Modeling and creation of forecast flooding models on the territory of the municipality which also include simulation according to scenarios specified beforehand and analysis of the observed data and estimated results; - Creation of maps; - History of the data collected by the monitoring devices; - Possibility to compare the data for the various periods; - Current data received by the monitoring devices; - Visualization and publishing of special data (raster and vector data) as well as the attribute data connected to them; - Quality control of the data; - Early warning of the responsible persons (representatives of the Municipality, Regional administration, Regional Inspectorate of Environment and Water, The Basin Directorate for Water Management, The Regional Directorate "Fire Safety and Population Protection", National Institute of Meteorology and Hydrology, „Irrigation systems“) and the population of the municipality through the provision of synthesized but exhaustive information in graphic and text format through the opportunities for SMS, MMS, e- mail etc. for the potential exceedances of the water levels, degree of the threat, the measures needed to be taken etc. - Data exchange with external sources. 1.1.3. Reports module The external users of the system should be able to access some of the information in the information system (through the developed project website) without the need to identify themselves. The results of all the reports should be able to be viewed on a screen and printed, as well as be exported in various formats enabling inclusion of graphic and alphanumeric information. The users should be able to view the information about the floods on the territory of the municipality, the Threat Maps and the Risk of Floods Maps, the registered facilities and maps etc. 1.1.4. User interface All the design elements and the user interface (the placement and layout of the menus, dialogues with the user, reports forms etc.) should be as unified and standardized as possible, with identical terms, symbols and tags in Bulgarian and English. The information system should be developed through a user oriented and intuitive interface and approach for use. The following minimum requirements must be complied with: - the user interface must be in Bulgarian and in English and must support standards for the Cyrillic; - a user oriented approach for the implementation must be guaranteed; - with intuitive and easily comprehensible user interface; - installation of software products /customer part/ of the user work stations, as well as maintenance of the web-based part which enables operation of all popular Internet browsers (Internet Explorer, Mozilla Firefox, Google Chrome); - the web applications must have dynamically generated pages; - it must allow for easy configuration and customization of the “web” interface; - it must provide easy access to the context-sensitive help; - validated WEB User Interface (WUI) according to the specifications of the World-Wide Web Consortium (W3C); - it must warn the administrators in cases of multiple unsuccessful attempts at login to the system by a certain user; - it must provide access only to options in the menus and permissions to access functionalities which correspond to the roles of the respective user; - it must have a mobile version. The information system must provide but not be limited to the following: • Verification and validation of the information and data; • Provision of access for the web clients; • It must provide functional capabilities for support (creation, editing, update) of geospacial facilities and information; • It must provide data visualization on a dynamic map; • It must provide a possibility for support of the detail of the data on a dynamic map depending on the scale; • It must provide the possibility for attachment of digital documents to the digital objects; • It must provide the possibility for editing and update of graphic objects by means of using specialized tools and methods; • It must provide the possibility for support of descriptive features of the objects including possibilities for their individual and group entry; • It must provide the possibility for making references for various special and attributive criteria (location of past and possible future floods; affiliation to a location; floods according to the date of occurrence, according to source of information, period of floods etc.); • It must provide features for creation, update and storage of geospacial facilities and information for Threat maps and Risk maps (range of the flood, depth of the flooding, water level in the flooded areas, degree of the threat depending on the depth of the flood for each of the probabilistic periods, data for the risk receptors); • It must provide features for creation, update and storage of primary (output) geospacial data and information about the process; • It must provide the possibility for thematic data visualization and information according to various criteria; • It must provide the opportunity for creation of graphic (vector) objects; • It must provide the opportunity for editing and update of graphic objects; • It must provide the opportunity for support of descriptive features of objects including the possibilities for their individual and group entry in the information environment; • It must provide the possibility for creation of raster surfaces; • It must provide the possibility for provision of data as well as the possibility for performing a threats analysis, the consequences of the floods on the territory of the municipality; • It must provide the possibility for performing a geospacial data analysis in a raster and vector format; • It must provide the possibility for using current information from the Information base (IB) of the system upon the creation of maps; • It must provide the possibility for editing and management of map elements; • It must provide the possibility for storage of а mapping representation in the system database; • It must provide the possibility for defining the features for printing and export of the maps; • It must provide the possibility for import /export of finished maps in standard graphic formats; (CAD, DWG etc.); • It must provide the possibility for printing the finished maps. • Extraction of the data from the monitoring points equipped according to the project; • Transmission of information by means of provision of a reliable communication medium among the monitoring points and CCTV cameras and the communications server located within the technical infrastructure of the municipality; • Collection and processing of the necessary data for supporting the database; • Forecasting, warning, disclosure and informing the population and responsible institutions; • Entry in advance and possibility for editing and update of the location of assets, human resources, third parties services on the maps with symbols; The data logger and the base platform for the realization of monitoring software should be from the same producer with the aim of complete integration and synchronization, reliable and fault-tolerant processing of critical data on river levels. The solution must maintain the following mandatory functionalities: Alarm notification on reaching critical levels or critical speeds increase the level with the following options: - Possibilities for voice announcement of the selected list of telephone subscribers ; - Integration with voice announcement system for population ; - Possibility to Send text messages and e-mails to the selected list of subscribers; - Possibility for Feedback for the pace of disclosure; The tenderers should provide in their technical offer a link to an existing system where the availability of the requested functionalities can be checked by the Evaluation committee. |  |  |  |