VOLUME 4.2

FINANCIAL OFFER TEMPLATES

LUMP SUM CONTRACTS

Introduction

1.	The Breakdown of the Lump-sum Price (Volume 4.2.3) is the itemised list of prices showing the build-up of the price in a lump-sum contract. This Breakdown of the Lump-sum Price does not derogate in any way to the clause stating that, in a lump-sum contract, the total contract price remains fixed irrespective of the quantity of work actually carried out.

2.	The item description given in the Breakdown of the Lump-sum Price in no way limits the Contractor’s obligations under the Contract to provide all the works described elsewhere.

3.	The prices of the Breakdown of the Lump-sum Price include all incidental and contingent expenses and all risks necessary to construct, complete and maintain all works in accordance with the Contract. Unless separate items are provided in the Breakdown of the Lump-sum Price, prices include all costs involved in the various items of the Breakdown.

4.	The prices do not include taxes and fiscal duties, as exoneration is explicitly given for the Contract. Non-exonerated taxes and fiscal duties are, apart from those stated separately in the financial offer templates, covered in the Lump–sum Price of the Contract.

VOLUME 4.2.3 — BREAKDOWN OF THE LUMP-SUM PRICE

| Item | Description |  | Unit | Unit price | Firm Quantities |  | Lump-sum price local currency (VAT excluded) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| "DETSKA RADOST" - BRANCH 2 |  |  |  |  |  |  |  |
| A/ CONSTRUCTION WORKS |  |  |  |  |  |  |  |
|  | PREPARATORY WORKS |  |  |  |  |  |  |
|  | Tearing down of asbestos mortar boards and covers from the roof and their transport to the landfills | m2 |  |  | 1004 |  |  |
|  | Dismantling of AC from the façade and their re-mounting | no. |  |  | 6 |  |  |
|  | Tearing down of damaged mortar of the façade walls | m2 |  |  | 12 |  |  |
|  | Dismantling of old horizontaly and vertically positioned roof drainage pipes made out of galvanized aluminium | m |  |  | 176 |  |  |
|  | Dismantling of overcasts made of aluminium on a roof top with Рш 60 см | m |  |  | 220 |  |  |
|  | Dismantling of drain collectors made of galvanized aluminium | m |  |  | 82 |  |  |
|  | Dismantling of outter wooden windows | m2 |  |  | 50,5 |  |  |
| TOTAL -PREPARATORY WORKS |  |  |  |  |  |  |  |
|  | CONCRETE WORKS |  |  |  |  |  |  |
| 1. | Cementing of paths around the facility with grouting with a work surface of 2 м2 | m2 |  |  | 78,22 |  |  |
| TOTAL CONCRETE WORKS |  |  |  |  |  |  |  |
|  | MASONRY WORKS |  |  |  |  |  |  |
| 1. | Plastering of damaged façade walls with lime mortar | m2 |  |  | 12 |  |  |
| TOTAL MASONRY WORKS |  |  |  |  |  |  |  |
|  | ROOF COVERING WORKS |  |  |  |  |  |  |
| 1. | Roof covering with plastified aluminium with width=0,6 mm , connected on existing wood рожници | m2 |  |  | 1004 |  |  |
| 2. | Covering of rodges with plastified aluminium same as the cover | m |  |  | 29,3 |  |  |
| TOTAL ROOF COVERING WORKS |  |  |  |  |  |  |  |
|  | SHEET METAL WORKS |  |  |  |  |  |  |
|  | Design and mounting of horizontally placed roof drianage pipes made of galvanized aluminuim w=0,6 mm Рш 50 см | m |  |  | 112 |  |  |
|  | Design and mounting of vertically positioned roof drainage pipes made of galvanzied aluminuim w=0,6 mm 14/14 | m |  |  | 52 |  |  |
|  | Overcasting of coving strips made of galvanized aluminium w=0,6 мм with Рш 60 см | m |  |  | 185 |  |  |
|  | Overcasting of parapets with galvanized aluminium with Рш 75 см | m |  |  | 35 |  |  |
|  | Setting up of frontal coving strips made of galvanized aluminuim w=0,6 mm (closing of roof claddings made of wood panel and galvanized alumiuin ) with Рш 50 см | m |  |  | 132 |  |  |
|  | Overcasting of chimneys with galvanized aluminium | no. |  |  | 8 |  |  |
|  | Making of drain collectors on windows out of glavanized aluminuim Рш 38 см | m |  |  | 82 |  |  |
| TOTAL SHEET METAL WORKS |  |  |  |  |  |  |  |
|  | WALL PAINTING WORKS |  |  |  |  |  |  |
| 1. | Painting of inner walls with polycolor paint chosen by the investor | m2 |  |  | 1 730 |  |  |
| 2. | Painting of the façade with façade paint (at places where there is no need of thermo façade ) | m2 |  |  | 48 |  |  |
| TOTAL WALL PAINTING WORKS |  |  |  |  |  |  |  |
|  | FAÇADE WORKS |  |  |  |  |  |  |
| 1. | Making of thermo-facade in the following elements ; basic layer (Connector-У), styrofoam glue, styrfoam w=10см, weighing at 18 kg/м3, styrofoam anshorage, Plastic rabitz net, Net glue and abriht (final layer) angle coving strips to be placed in the corners, painting with facade color chosen by the investor(all openings have been taken out of the calculations ) | m2 |  |  | 574 |  |  |
| 2. | Making of thermo-facade in the following elements; basic layer (Connector-У), styrofoam glue, styrfoam w=10см, weighing at 18 kg/м3, styrofoam anshorage, Plastic rabitz net, Net glue and abriht (final layer) angle coving strips to be placed in the corners, painting with facade colour chosen by the investor (around windows and ceilings at entrances where there is already a facade carpentry mounted.) | m2 |  |  | 49 |  |  |
| TOTAL FAÇADE WORKS |  |  |  |  |  |  |  |
|  | CARPENTRY WORKS |  |  |  |  |  |  |
|  | Procurement and mounting of PVC windows with six chamber profile model and windowing with low energy KA glass, with dimensions |  |  |  |  |  |  |
|  | 200/160 | no. |  |  | 6 |  |  |
|  | 200/90 | no. |  |  | 5 |  |  |
|  | 245/90 | no. |  |  | 3 |  |  |
|  | 80/90 | no. |  |  | 12 |  |  |
|  | 200/110 | no. |  |  | 5 |  |  |
| TOTAL CARPENTRY WORKS |  |  |  |  |  |  |  |
|  | MISCELANOUS WORKS |  |  |  |  |  |  |
|  | Repair of damaged roof cladding made of wood panel | m2 |  |  | 16 |  |  |
|  | Painting of wooden roof claddings with sadolin by previously cleaning the wood panel with sand paper | m2 |  |  | 240 |  |  |
|  | Painitng of metal surfaces at the economic entrance (network of windows) | m2 |  |  | 3 |  |  |
|  | Placing of tervol w=10см above the AB interfloor slab | m2 |  |  | 873 |  |  |
|  | Making of plinth with cooler plast on top of the existing plinth made of washed terazzo | m2 |  |  | 86 |  |  |
| TOTAL MISCELANOUS WORKS |  |  |  |  |  |  |  |
|  | STEAM ROOM |  |  |  |  |  |  |
|  | Tearing down of azbesthos tables and tops from the roof and their transport to the landills | m2 |  |  | 95 |  |  |
|  | Demolition of damaged mortar from façade walls | m2 |  |  | 35 |  |  |
|  | Dismantling of old horizontal and vertical drainage roof pipes made of galvanize aluminium | m |  |  | 22 |  |  |
|  | Applying mortar to damaged façade walls woth lime cement | m2 |  |  | 35 |  |  |
|  | Roof covering with plastified aluminuim w=0,6 мм , anchored on the existing wooden рожници | m2 |  |  | 95 |  |  |
|  | Making of and mounting of horizontal drainage roof pipes made of galvanized aluminuim w=0,6 mm Рш 50 см | m |  |  | 10 |  |  |
|  | Makin of and mounting of vertical roof drainage pipes made of galvanized aluminium w=0,6 мм 14/14 | m |  |  | 11 |  |  |
|  | Overcasting of parapet with galvanized aluminium Рш75 см | m |  |  | 37 |  |  |
|  | Painting of metal windows and doors of the boiler room with previously grinding them with sand paper and minimizing the same | m2 |  |  | 18 |  |  |
|  | Painting of the façade with façade paint together with the needed façade scaffold | m2 |  |  | 169 |  |  |
| TOTAL STEAM ROOM |  |  |  |  |  |  |  |
| B/ PHASE SOLAR, PLUMBING AND SEWAGE |  |  |  |  |  |  |  |
|  | Procurement and montage of flat solar collector with the following characteristics: Length mm 1099 Width 2099 mm Depth 110 mm Joints (flat isolator with a bolt) G ¾ " Angle of 15 ° ° to 90 ° Optical effectiveness 81,9% Heat loss coefficient a1-W / (m2 K) 3.312 Heat loss coeficienta2-W / (m2 K2) 0.0181 Maximum empty temperature-198 ° C Exposure of factor of angle of corrections IAM-50 * 93% Gross surface 2,3 m² Effective surface of the absorber 2,0 m² Contents - 1,9 litres | no. |  |  | 4 |  |  |
|  | Boiler with two spirals 500 л together with an electric heater 9 kW, protective and regulatory fitting | no |  |  | 1 |  |  |
|  | Connecting the boiler with the plumbing installation | comp. |  |  | 1 |  |  |
|  | Solar pump group | no. |  |  | 1 |  |  |
|  | Solar module SM 1 | no |  |  | 1 |  |  |
|  | Control module BM - solar | no |  |  | 1 |  |  |
|  | Montage framework for four solar collectors | no |  |  | 1 |  |  |
|  | Solar defrost liquid | l |  |  | 80 |  |  |
|  | Solar expansion collector 50 л | no |  |  | 1 |  |  |
|  | Knee type joints with solar collectors | comp. |  |  | 1 |  |  |
|  | Compensators for solar collectors | no |  |  | 6 |  |  |
|  | Solar air extractor | no |  |  | 1 |  |  |
|  | Ball type tap 3/4 with knee type joint | no |  |  | 3 |  |  |
|  | Ball type tap 1/2 with knee type joint | no |  |  | 1 |  |  |
|  | Filter 3/4 | no |  |  | 1 |  |  |
|  | Temperature sensor | no |  |  | 1 |  |  |
|  | High-temperature cylinder type isolation F22х19mm | m |  |  | 80 |  |  |
|  | High-temperature cylinder type isolation F22х19mm 22х19мм with aluminium foil | m |  |  | 20 |  |  |
|  | Mounting of solar collector | no |  |  | 4 |  |  |
|  | Mounting of boiler | no |  |  | 1 |  |  |
|  | Pipe system of solar collectors with copper pipes F22х1mm - together with fittings | m |  |  | 100 |  |  |
|  | Setting of the isolation | m |  |  | 100 |  |  |
|  | Electrical isolation 2х0,5 - procurement and mounting | m |  |  | 120 |  |  |
|  | Mounting of solar expansion collector | no |  |  | 1 |  |  |
|  | Starting the system and setting up the system | no |  |  | 1 |  |  |
|  | Ball type valve 1 " with teflon and knee type joint | no |  |  | 3 |  |  |
|  | Brass water filter 1 " | no |  |  | 1 |  |  |
|  | Non-return valve - 1/2 " | no |  |  | 1 |  |  |
|  | Two directional valve with electric drive | as neded |  |  | 1 |  |  |
| TOTAL PHASE SOLAR, PLUMBING AND SEWAGE |  |  |  |  |  |  |  |
| C/ PHASE ELECTRICAL |  |  |  |  |  |  |  |
| LIGHTING |  |  |  |  |  |  |  |
|  | Replacement of light bulbs from volfram wires to new energy efficient LED lights with Е27 type of throat and the following characteristics (power 10 w, luminosity 1080 lm, 5000 K, life cycle of 50 000 work hours), with a three year warranty | no. |  |  | 26 |  |  |
|  | Replacement of light bulbs from volfram wires to new energy efficient LED lights with Е27 type of throat and the following characteristics (power 15 w, luminosity 1800 lm, 5000 K, life cycle of 50 000 work hours), with a three year warranty | no. |  |  | 26 |  |  |
|  | Replacement of light bulbs from volfram wires to new energy efficient LED lights with Е27 type of throat and the following characteristics (power 20 w, luminosity 1600 lm, 5000 K, life cycle of 50 000 work hours), with a three year warranty | no. |  |  | 39 |  |  |
|  | Replacement of light bulbs from volfram wires to new energy efficient LED lights with Е27 type of throat and the following characteristics (power 10 w, luminosity 800 lm, 5000 K, life cycle of 50 000 work hours), with a three year warranty | no. |  |  | 4 |  |  |
|  | Small unspecified material | as needed |  |  | 1 |  |  |
| TOTAL LIGHTING |  |  |  |  |  |  |  |
| LIGHTNING ROD |  |  |  |  |  |  |  |
|  | Galvanized tape 20*3 mm | m |  |  | 250 |  |  |
|  | Additional material for lightning rod installation | as needed |  |  | 1 |  |  |
| TOTAL LIGHTNING ROD |  |  |  |  |  |  |  |
| D/ PHASE THERMOTECHNIC |  |  |  |  |  |  |  |
|  | Procurement of thermoheads as needed | no. |  |  | 20 |  |  |
|  | Checking the functionality of the heating bodies and their replacement as needed | as needed |  |  | 1 |  |  |
| TOTAL PHASE THERMOTECHNIC |  |  |  |  |  |  |  |
| TOTAL KINDERGARGDEN "DETSKA RADOST" – BRANCH 2 |  |  |  |  |  |  |  |
| KINDERGARDEN "DETSKA RADOST" – BRANCH 3 |  |  |  |  |  |  |  |
| A/ PHASE SOLAR, PLUMBING AND SEWAGE |  |  |  |  |  |  |  |
|  | Procurement and montage of flat solar collector with the following characteristics: Length mm 1099 Width 2099 mm Depth 110 mm Joints (flat isolator with a bolt) G ¾ " Angle of 15 ° ° to 90 ° Optical effectiveness 81,9% Heat loss coefficient a1-W / (m2 K) 3.312 Heat loss coeficienta2-W / (m2 K2) 0.0181 Maximum empty temperature-198 ° C Exposure of factor of angle of corrections IAM-50 * 93% Gross surface 2,3 m² Effective surface of the absorber 2,0 m² Contents - 1,9 litres | no. |  |  | 6 |  |  |
|  | Boiler with two spirals 800 л together with an electric heater 9 kW, protective and regulatory fitting | no |  |  | 1 |  |  |
|  | Connecting the boiler with the plumbing installation | comp. |  |  | 1 |  |  |
|  | Solar pump group | no. |  |  | 1 |  |  |
|  | Solar module SM 1 | no |  |  | 1 |  |  |
|  | Control module BM - solar | no |  |  | 1 |  |  |
|  | Montage framework for four solar collectors | no |  |  | 1 |  |  |
|  | Solar defrost liquid | l |  |  | 100 |  |  |
|  | Solar expansion collector 50 л | no |  |  | 1 |  |  |
|  | Knee type joints with solar collectors | comp. |  |  | 1 |  |  |
|  | Compensators for solar collectors | no |  |  | 8 |  |  |
|  | Solar air extractor | no |  |  | 1 |  |  |
|  | Ball type tap 3/4 with knee type joint | no |  |  | 3 |  |  |
|  | Ball type tap 1/2 with knee type joint | no |  |  | 1 |  |  |
|  | Filter 3/4 | no |  |  | 1 |  |  |
|  | Temperature sensor | no |  |  | 1 |  |  |
|  | High-temperature cylinder type isolation F22х19mm | m |  |  | 80 |  |  |
|  | High-temperature cylinder type isolation F22х19mm 22х19мм with aluminium foil |  |  |  | 20 |  |  |
|  | Mounting of solar collector | no |  |  | 6 |  |  |
|  | Mounting of boiler | no |  |  | 1 |  |  |
|  | Pipe system of solar collectors with copper pipes F22х1mm - together with fittings | m |  |  | 100 |  |  |
|  | Setting of the isolation | m |  |  | 100 |  |  |
|  | Electrical isolation 2х0,5 - procurement and mounting | m |  |  | 120 |  |  |
|  | Mounting of solar expansion collector | no |  |  | 1 |  |  |
|  | Starting the system and setting up the system | no |  |  | 1 |  |  |
|  | Ball type valve 1 " with teflon and knee type joint | no |  |  | 3 |  |  |
|  | Brass water filter 1 " | no |  |  | 1 |  |  |
|  | Non-return valve - 1/2 " | no |  |  | 1 |  |  |
|  | Two directional valve with electric drive | as neded |  |  | 1 |  |  |
| TOTAL PHASE SOLAR, PLUMBING AND SEWAGE |  |  |  |  |  |  |  |
| B/ PHASE ELECTRICAL |  |  |  |  |  |  |  |
|  | Replacement of light bulbs from volfram wires to new energy efficient LED lights with Е27 type of throat and the following characteristics (power 10 w, luminosity 1080 lm, 5000 K, life cycle of 50 000 work hours), with a three year warranty | no. |  |  | 42 |  |  |
|  | Replacement of light bulbs from volfram wires to new energy efficient LED lights with Е27 type of throat and the following characteristics (power 15 w, luminosity 1800 lm, 5000 K, life cycle of 50 000 work hours), with a three year warranty | no. |  |  | 42 |  |  |
|  | Replacement of light bulbs from volfram wires to new energy efficient LED lights with Е27 type of throat and the following characteristics (power 20 w, luminosity 1600 lm, 5000 K, life cycle of 50 000 work hours), with a three year warranty | no. |  |  | 217 |  |  |
|  | Replacement of light bulbs from volfram wires to new energy efficient LED lights with Е27 type of throat and the following characteristics (power 10 w, luminosity 800 lm, 5000 K, life cycle of 50 000 work hours), with a three year warranty | no. |  |  | 20 |  |  |
|  | Replacement of light bulbs from volfram wires to new energy efficient LED lights with Е27 type of throat and the following characteristics (power 10 w, luminosity 1080 lm, 5000 K, life cycle of 50 000 work hours), with a three year warranty | no. |  |  | 1 |  |  |
| TOTAL PHASE ELECTRICAL |  |  |  |  |  |  |  |
| TOTAL KINDERGARGDEN "DETSKA RADOST" – BRANCH 3 |  |  |  |  |  |  |  |
| KINDERGARDEN "DETSKA RADOST" – BRANCH 4 |  |  |  |  |  |  |  |
| A/ PHASE SOLAR, PLUMBING AND SEWAGE |  |  |  |  |  |  |  |
|  | Procurement and montage of flat solar collector with the following characteristics: Length mm 1099 Width 2099 mm Depth 110 mm Joints (flat isolator with a bolt) G ¾ " Angle of 15 ° ° to 90 ° Optical effectiveness 81,9% Heat loss coefficient a1-W / (m2 K) 3.312 Heat loss coeficienta2-W / (m2 K2) 0.0181 Maximum empty temperature-198 ° C Exposure of factor of angle of corrections IAM-50 * 93% Gross surface 2,3 m² Effective surface of the absorber 2,0 m² Contents - 1,9 litres | no. |  |  | 4 |  |  |
|  | Boiler with two spirals 500 л together with an electric heater 9 kW, protective and regulatory fitting | no |  |  | 1 |  |  |
|  | Connecting the boiler with the plumbing installation | comp. |  |  | 1 |  |  |
|  | Solar pump group | no. |  |  | 1 |  |  |
|  | Solar module SM 1 | no |  |  | 1 |  |  |
|  | Control module BM - solar | no |  |  | 1 |  |  |
|  | Montage framework for four solar collectors | no |  |  | 1 |  |  |
|  | Solar defrost liquid | l |  |  | 80 |  |  |
|  | Solar expansion collector 50 л | no |  |  | 1 |  |  |
|  | Knee type joints with solar collectors | comp. |  |  | 1 |  |  |
|  | Compensators for solar collectors | no |  |  | 6 |  |  |
|  | Solar air extractor | no |  |  | 1 |  |  |
|  | Ball type tap 3/4 with knee type joint | no |  |  | 3 |  |  |
|  | Ball type tap 1/2 with knee type joint | no |  |  | 1 |  |  |
|  | Filter 3/4 | no |  |  | 1 |  |  |
|  | Temperature sensor | no |  |  | 1 |  |  |
|  | High-temperature cylinder type isolation F22х19mm | m |  |  | 80 |  |  |
|  | High-temperature cylinder type isolation F22х19mm 22х19мм with aluminium foil | m |  |  | 20 |  |  |
|  | Mounting of solar collector | no |  |  | 4 |  |  |
|  | Mounting of boiler | no |  |  | 1 |  |  |
|  | Pipe system of solar collectors with copper pipes F22х1mm - together with fittings | m |  |  | 100 |  |  |
|  | Setting of the isolation | m |  |  | 100 |  |  |
|  | Electrical isolation 2х0,5 - procurement and mounting | m |  |  | 120 |  |  |
|  | Mounting of solar expansion collector | no |  |  | 1 |  |  |
|  | Starting the system and setting up the system | no |  |  | 1 |  |  |
|  | Ball type valve 1 " with teflon and knee type joint | no |  |  | 3 |  |  |
|  | Brass water filter 1 " | no |  |  | 1 |  |  |
|  | Non-return valve - 1/2 " | no |  |  | 1 |  |  |
|  | Two directional valve with electric drive | as neded |  |  | 1 |  |  |
| TOTAL PHASE SOLAR, PLUMBING AND SEWAGE |  |  |  |  |  |  |  |
| B/ PHASE ELECTRICAL |  |  |  |  |  |  |  |
|  | Replacement of light bulbs from volfram wires to new energy efficient LED lights with Е27 type of throat and the following characteristics (power 10 w, luminosity 1080 lm, 5000 K, life cycle of 50 000 work hours), with a three year warranty | no. |  |  | 11 |  |  |
|  | Replacement of light bulbs from volfram wires to new energy efficient LED lights with Е27 type of throat and the following characteristics (power 15 w, luminosity 1800 lm, 5000 K, life cycle of 50 000 work hours), with a three year warranty | no. |  |  | 10 |  |  |
|  | Replacement of light bulbs from volfram wires to new energy efficient LED lights with Е27 type of throat and the following characteristics (power 20 w, luminosity 1600 lm, 5000 K, life cycle of 50 000 work hours), with a three year warranty | no. |  |  | 292 |  |  |
|  | Replacement of light bulbs from volfram wires to new energy efficient LED lights with Е27 type of throat and the following characteristics (power 10 w, luminosity 800 lm, 5000 K, life cycle of 50 000 work hours), with a three year warranty | no. |  |  | 49 |  |  |
|  | Small unspecified material | as needed |  |  | 1 |  |  |
| TOTAL PHASE ELECTRICAL |  |  |  |  |  |  |  |
| TOTAL KINDERGARGDEN "DETSKA RADOST" – BRANCH 4 |  |  |  |  |  |  |  |
| TOTAL KINDERGARGDEN "DETSKA RADOST" – ALL BRANCHES (2/3/4) |  |  |  |  |  | ………… (VAT excluded) |  |
|  |  |  |  |  |  | ………… VAT |  |
|  |  |  |  |  |  | ………… (VAT included) |  |