VOLUME 4.2

FINANCIAL OFFER TEMPLATES

LUMP SUM CONTRACTS

Introduction

1.	The Breakdown of the Lump-sum Price (Volume 4.2.3) is the itemised list of prices showing the build-up of the price in a lump-sum contract. This Breakdown of the Lump-sum Price does not derogate in any way to the clause stating that, in a lump-sum contract, the total contract price remains fixed irrespective of the quantity of work actually carried out.

The amounts due will be calculated:

<The breakdown must coincide with the payment-definition chosen in article 49 of the Special Conditions:

For example: through the measurement of the percentage of works carried out in relation to the firm quantities of each item of the Breakdown of the Lump-sum Price and by applying that percentage to the lump-sum price of the related item>

For example: by the tranches specified in article 49(1)(a) of the Special Conditions>.

2.	The item description given in the Breakdown of the Lump-sum Price in no way limits the Contractor’s obligations under the Contract to provide all the works described elsewhere.

3.	The prices of the Breakdown of the Lump-sum Price include all incidental and contingent expenses and all risks necessary to construct, complete and maintain all works in accordance with the Contract. Unless separate items are provided in the Breakdown of the Lump-sum Price, prices include all costs involved in the various items of the Breakdown.

4.	The prices do not include taxes and fiscal duties, as exoneration is explicitly given for the Contract. Non-exonerated taxes and fiscal duties are, apart from those stated separately in the financial offer templates, covered in the Lump–sum Price of the Contract.

VOLUME 4.2.3 — BREAKDOWN OF THE LUMP-SUM PRICE

| Item | Description |  | Unit | Unit price | Firm Quantities | Lump-sum price [EUR] [local currency] |
| --- | --- | --- | --- | --- | --- | --- |
|  | ORGANIZING OF THE BUILDING SITE |  |  |  |  |  |
| 1.2 | Fabrication and installation of information boards with dimensions 200/100 cm, with content written according to the law on construction and made of metal frame and galvanized sheet | aprox. |  |  | 1.00 |  |
| 1.3 | Marking the boundaries of the building site and construction and installation of protective barriers, fences and suchlike, to prevent the entry of unauthorized persons during the reconstruction of the facility | aprox. |  |  | 1.00 |  |
| 1.5 | Furnishing and equipment for a room in the cultural centre that will serve as an office for the technical staff of the contractor during the execution of reconstruction | aprox. |  |  | 1.00 |  |
| 1.6 | Furnishing and equipment needed for a room in the cultural centre that will serve as an office for the supervisory body appointed by the Investor | aprox. |  |  | 1.00 |  |
| 1.7 | Equipping a room at the cultural centre with equipment that will serve as a space for workers of contractor (wardrobe and dining room) | aprox. |  |  | 1.00 |  |
| 1.8 | Supply and installation of prefabricated bathroom facility outside the building of the centre that will serve the needs of the contractor, complete with dismantling and transport after reconstruction | aprox. |  |  | 1.00 |  |
| 1.9 | Expenditure for mobilization and demobilization of the Contractor | aprox |  |  | 1.00 |  |
| TOTAL ORGANIZING THE BUILDING SITE |  |  |  |  |  |  |
| 2 | PREVIOUS WORK - DEMOLITION AND DISMANTLING |  |  |  |  |  |
| 2.1 | Dismantling of the existing wooden facade indows complete with parapet boards from the inside and from the outside, rolled off to the location specified by the Investor. |  |  |  |  |  |
|  | Position 1 in size 440/80 cm - five-winged window with two fixed wings and three that open in both directions | piece |  |  | 1.00 |  |
|  | Position 2 in size 450/80 +110/210 cm - five winged window with two fixed wings and three that open in both directions and a single-door | piece |  |  | 1.00 |  |
|  | Position 3 dimensions 270/80 cm - venetian window with a fixed wings and two that open in both directions | piece |  |  | 2.00 |  |
|  | Position 4 with size 150/80 cm - double-winged window with a fixed ing and one which opens in both directions | piece |  |  | 1.00 |  |
|  | Position 5 with size 170/80 cm - double-winged window with a fixed wing and one which opens in both directions | piece |  |  | 1.00 |  |
|  | Position 6 with size 200/80 cm venetian window with a fixed wing and two that are open in both directions | piece |  |  | 1.00 |  |
|  | Position. 7 dimensions 100/205 cm double full door | piece |  |  | 2.00 |  |
|  | Position 8 size 555/80 cm - five winged window with two fixed and three wings that open in both directions | piece |  |  | 1.00 |  |
|  | Position 9 with dimensions 500/140 + 60 cm - six winged window portal with lights | piece |  |  | 1.00 |  |
|  | Position 10 with dimensions 510/140+60 см - six winged window portal with lights | piece |  |  | 3.00 |  |
|  | Position 11 with dimensions 555/140+60 см - six winged window portal with lights | piece |  |  | 4.00 |  |
|  | Position 12 size 160/110 cm - a fixed window | piece |  |  | 1.00 |  |
|  | Position 13 with dimensions 555/210 + 110 cm - four-input portal with double doors and fixed-fringe and two that are open in both directions | piece |  |  | 1.00 |  |
|  | Position 14 size 230/320 cm - fixed portal for porter's room with counter | piece |  |  | 1.00 |  |
|  | Position 15 with dimensions 555/210 + 110 cm - four-windscreen portal with a double door, a door and with fixed fringes | piece |  |  | 1.00 |  |
|  | Position 16 with dimensions 555/210 + 110 cm four- winged fixed portal with lights | piece |  |  | 1.00 |  |
|  | Position 17 dimensions 115/100 cm -- a fixed window | piece |  |  | 1.00 |  |
|  | Position 18 size 130/390 cm - staircase fixed portal with two wings that open in two directions | piece |  |  | 4.00 |  |
|  | Position 19 size 100/140 cm - Single window with opening in both directions | piece |  |  | 1.00 |  |
|  | Position 20 size 115/210 cm - a single fixed window | piece |  |  | 4.00 |  |
|  | Position 21 with dimensions 195/140 + 60 + 90/235 + 60 cm - double-winged window with lights and a single balcony door with fixed lights | piece |  |  | 1.00 |  |
|  | Position 22 with dimensions 195/140 + 60 - double-winged window with lights | piece |  |  | 1.00 |  |
|  | Position 23 with dimensions 410/140 + 60 + 110/235 + 60 cm - fifth-winged window with two fixed and fringes and three that open in both directions and a single-balcony door with fixed lights | piece |  |  | 1.00 |  |
|  | Position 24 with dimensions 255/140 + 60 sm venetian window with two fixed-wings and one which opens in both directions, with lights | piece |  |  | 12.00 |  |
|  | Position 25 with size 160/140 + 60 sm- a fixed window with double lights | piece |  |  | 1.00 |  |
|  | Position 26 with dimensions 370/140 + 60 cm - five-winged window with two fixed and three fringes that open in both directions with lights | piece |  |  | 4.00 |  |
|  | Position 27 with dimensions 195/140 + 60 + 90/235 + 60 cm - double-winged window with lights and single balcony door with fixed lights | piece |  |  | 1.00 |  |
|  | Position 28 size 190/205 cm - double fire door | piece |  |  | 2.00 |  |
| 2.2 | Dismantling of horizontal and vertical gutters made of galvanized sheet metal, complete with bearing elements by pullig off the roof and taking out of the building, with loading and transport to the landfill determined by the investor. | m |  |  | 289.05 |  |
| 2.3 | Dismantling of the wooden lining the bottom of the console with a width of 145 cm complete with all layers to the plate, with rolled off the debris to a landfill designated by the Investor | m2 |  |  | 148.80 |  |
| 2.4 | Dismantling of roof cover of tiles with all the flashing sheet of hollows, ridges, welds with vertical elements and the suchlike, and pulling off and export out of the building, loading and transport the debris to the landfill (surface is oblique) | m2 |  |  | 952.69 |  |
| 2.5 | Detailed review of the existing wooden roof if necessary to dismantle all damaged items. It is planned to replace 30% of the roof. In this position to calculate the dismantling of the damaged parts. | m3 |  |  | 20.01 |  |
| 2.6 | Rolled off a possible additional construction debris that could occur during the works for positions that can not be foreseen during the preparation of the project | m3 |  |  | 5.00 |  |
| TOTAL PREVIOUS WORK |  |  |  |  |  |  |
| 3 | MASONRY WORK |  |  |  |  |  |
| 3.1 | Construction of a partition wall in the basement d = 25 cm with ceramic blocks and cement plaster with layers and needed work scaffolding | m2 |  |  | 14.35 |  |
| 3.2 | Plastering a new wall in the basement with cement plaster d = 2.5 cm with pre-spraying with cement grout and use of simple masonry scaffolding. The price to anticipate and sanding and painting the wall with a white dispersive color. | м2 |  |  | 34.69 |  |
| 3.3 | Patching the inside facade frames where the window is placed, as in an impairment loss of existing plaster after removal of the facade carpentry. After installation of the new facade carpentry, to check all the facade frames for the windows and extended repair plaster, smoothing mass and color as the current. Prices depend from the m. required (the amount will be determined on site) | m2 |  |  | 1.00 |  |
| TOTAL MASONRY WORK |  |  |  |  |  |  |
| 4 | INSULATOR WORK |  |  |  |  |  |
| 4.1 | Supply and installation of thermal insulation of inverted gently pressed plates d = 8 cm with PE foil made of concrete slab roof level, placing between the wooden roof construction (horizontal projection) | m2 |  |  | 687.00 |  |
| 4.2 | Supply and installation of thermal insulation of inverted gently pressed plates d = 8 cm with PE foil, between the horns of the wooden roof (oblique) | m2 |  |  | 857.42 |  |
| 4.3 | Purchase and installation of thermal insulation of hard virgin 5 cm overhangs the underside. | m2 |  |  | 148.80 |  |
| 4.4 | Purchase and installation of ter paper roof through the wooden roof coating by placing ter paper folded 10 cm between tracks | m2 |  |  | 952.69 |  |
| TOTAL INSULATOR WORK |  |  |  |  |  |  |
| 5 | CARPENTER WORK |  |  |  |  |  |
| 5.1 | Supply and installation of facade carpentry made of laminated steel five winged white profiles, metal stud frame, glazed with double-glazing 4 + 16 + 4 mm, complete with hinges, locks and fittings, opening under the scheme for carpentry. |  |  |  |  |  |
|  | Position 1 in size 440/80cm - five-winged casement window with two fixed and three wings that open in both directions | piece |  |  | 438.00 |  |
|  | Position2 size 450/80 +110/210 cm - five-winged casement window with two fixed and three wings that open in both directions and a single-door | piece |  |  | 748.00 |  |
|  | Position 3 dimensions 270/80 cm - venetian window with a fixed wing and two that open in both directions | piece |  |  | 281.00 |  |
|  | Position 4 with size 150/80 cm - double-winged window with a fixed wing and one which opens in both directions | piece |  |  | 196.00 |  |
|  | Position 5 with size 170/80 cm - double-winged window with a fixed wing and one which opens in both directions | piece |  |  | 208.00 |  |
|  | Position 6 dimensions 200/80 sm venetian window with a fixed wing and two that are open in both directions | piece |  |  | 215.00 |  |
|  | Position 8 size 555/80 cm - five-winged casement window with two fixed and three wings that open in both directions | piece |  |  | 577.00 |  |
|  | Position 9 with dimensions 500/140 + 60 cm - six-winged casement window portal with three fixed and three wings that open in both directions, with lights, three of which are opening and three fixed | piece |  |  | 1,020.00 |  |
|  | Position 10 with size 510/140 + 60 cm - six-inged casement window portal with three fixed and three wings that open in both directions, with lights three of which are opening and three fixed | piece |  |  | 1,050.00 |  |
|  | Position 11 with dimensions 555/140 + 60 cm - six-winged casement window portal with three fixed and three wings that open in both directions, with lights three of which open and three fixed | piece |  |  | 1,050.00 |  |
|  | Position 12 size 160/110 cm --a single fixed window | piece |  |  | 230.00 |  |
|  | Position 13 with dimensions 555/210 + 110 cm - four-winged input portal with double doors and fixed-wing and two that are open in both directions | piece |  |  | 1.00 |  |
|  | Position 14 size 230/320 cm - fixed portal porter's room with counter | piece |  |  | 1.00 |  |
|  | Position 15 with dimensions 555/210 + 110 cm - four-windscreen portal with a double door, a single door, with fixed wings | piece |  |  | 1.00 |  |
|  | Position 16 with dimensions 555/210 + 110 cm four-winged fixed portal with lights | piece |  |  | 1.00 |  |
|  | Position 17 dimensions 115/100 cm -a single fixed window | piece |  |  | 1.00 |  |
|  | Position 18 size 130/390 cm - staircase fixed portal with two wings that open in two directions | piece |  |  | 4.00 |  |
|  | Position 19 size 100/140 cm - Single window with opening in both directions | piece |  |  | 1.00 |  |
|  | Position 20 size 115/210 cm -a single fixed window | piece |  |  | 4.00 |  |
|  | Position 21 with dimensions 195/140 + 60 + 90/235 + 60 cm - double-winged window (one fixed wing, one opens in both directions, with lights, one fixed, one opens) and a single-balcony door with fixed lights | piece |  |  | 1.00 |  |
|  | Position 22 with dimensions 195/140 + 60 - double-winged window (one fixed wing, one opens in both directions, with lights, one fixed, one opens) | piece |  |  | 1.00 |  |
|  | Position 23 with dimensions 410/140 + 60 + 110/235 + 60 cm - five-winged casement window with two fixed and three wings that open in both directions and a single-balcony door with fixed lights | piece |  |  | 1.00 |  |
|  | Position 24 with dimensions 255/140 + 60 sm venetian window with two fixed-wing and one which opens in both directions, with lights two of which are opening and one fixed | piece |  |  | 12.00 |  |
|  | Position 25 with size 160/140 + 60 cm-in a fixed window with double lights which opens in both directions | piece |  |  | 1.00 |  |
|  | Position 26 with dimensions 370/140 + 60 cm - five-winged casement window with two fixed wings with two fixed lights and three lights which can open. | piece |  |  | 4.00 |  |
|  | Position 27 with dimensions 195/140 + 60 + 90/235 + 60 cm - double-winged window (one fixed wing, one opens in both directions, with lights, one fixed, one opens) and a single-balcony door with fixed lights | piece |  |  | 1.00 |  |
| 5.2 | Supply and installation of exterior doors made of laminated steel five-winged white profiles, metal substructure with filling the wings of two plastic plates, complete with hinges, locks and fittings, opening under the scheme for carpentry. |  |  |  |  |  |
|  | Position 7 dimensions 100/205 cm | piece |  |  | 2.00 |  |
| 5.3 | Supply and installation of fire doors with fire resistance of 90 minutes, made of steel profiles filled with sheet steel, factory-protected coatings protect metal and finally stained with greasy fire resistance color choice of the designer |  |  |  |  |  |
|  | Position 7 size 190/205 cm - double door | piece |  |  | 2.00 |  |
|  | Position 28 size 190/205 cm - double door | piece |  |  | 2.00 |  |
| TOTAL CARPENTER WORK |  |  |  |  |  |  |
| 6 | FACADE WORKS |  |  |  |  |  |
| 6.1 | Assembly and disassembly of scaffolding easy to perform facade works third floor. The scaffold to be made after all the safety standards for that type of stuff. | m2 |  |  | 1,517.98 |  |
| 6.2 | Supply and installation of thermal facade of thermal insulation panels of expanded polystyrene d = 8 cm attached to the facade walls with dowels and glue with inorganic adhesive. The plates are impregnated with organic elastic polymer mass and glass reinforcement mesh and finish are coated with several layers of organic noncement plasters with finishing and color according to the project. (All openings of the facade were rejected). |  |  |  |  |  |
|  | basement and ground floor with a height of 6.60 m | m2 |  |  | 377.07 |  |
|  | ground floor with a height of 3.40 meters | m2 |  |  | 261.44 |  |
|  | first floor height 3.60 m | m2 |  |  | 594.55 |  |
|  | TOTAL | m2 |  |  | 1233.05 |  |
| 6.3 | Supply and installation of thermal facade at the main entrance of the thermal insulation panels of expanded polystyrene, attached to the facade walls with dowels and glue with inorganic adhesive. Among the plates are mounted in metal stud that set marble slabs d = 2 cm, according to the details in the project. (All openings of the facade were rejected). |  |  |  |  |  |
|  | thermal insulation d = 8 cm (lighter marble) | m2 |  |  | 33.01 |  |
|  | thermal insulation d = 5 cm (darker marble) | m2 |  |  | 22.03 |  |
|  | TOTAL | m2 |  |  | 55.04 |  |
| 6.4 | Making facade frames around windows with a width of 15-20 cm thermal facade installation of thermal insulation polystyrene d = 2 cm, attached to the facade walls with dowels and glue with inorganic adhesive. The plates are impregnated with organic elastic reinforcement fiberglass net and finish are coated with several layers of organic necementni plasters with finishing and color chosen by the designer | m |  |  | 361.16 |  |
| 6.5 | Making facade frames around windows with a width of 15-20 cm thermal facade installation of thermal insulation polystyrene d = 2 cm, attached to the facade walls with dowels and glue with inorganic adhesive. Through panels are glued with adhesive for outdoor use marble plates d = 1 cm, the same as the facade of marble | m |  |  | 9.20 |  |
| 6.6 | Execution of pillars and railings with marble plates with d = 3 cm by sticking with glue for tiles for outdoor use | m |  |  | 43.32 |  |
| 6.7 | Facade processing bays from below through hard pressed polystyrene - Plates are impregnated with organic elastic reinforcement fiberglass net and are coated with several layers of organic noncement plasters with finishing and color chosen by the designer | m2 |  |  | 199.03 |  |
| TOTAL FACADE WORKS |  |  |  |  |  |  |
| 7 | ROOF WORKS |  |  |  |  |  |
| 7.1 | After pulling off the roofing of tiles, to make a complete check of the existing roof and if necessary to replace certain parts of the construction of new wooden elements. The whole structure can be covered with protective paint for wood pest (the surface is horizontal projection) is planned replacement of 30% of the wooden roof. | m3 |  |  | 20.01 |  |
| 7.2 | Execution of the roof with a wooden formwork of boards or OSB plates d = 20 mm. The position involves fixing kit with all the fixing elements. (Surface is oblique) | m2 |  |  | 952.69 |  |
| TOTAL ROOF WORKS |  |  |  |  |  |  |
| 8 | SHEET METAL WORKS |  |  |  |  |  |
| 8.1 | Purchase and transport of material, cutting and installation of roof cladding of flat-folded plastic sheet metal d = 0.6 mm, complete with all the necessary elements for clamping and trimming all ridge-pieces, hollows, finishing edges, etc. | m2 |  |  | 952.69 |  |
| 8.2 | Purchase and transport of material, cutting and installation of hanging horizontal gutters made of plastic flat steel sheet 90cm, complete with flat irons for holding the gutters so placed to form the corresponding decline in gutters | m |  |  | 163.05 |  |
| 8.3 | Purchase and transport of material, cutting and installation of vertical gutters made of plastic flat steel sheet 60cm, complete with fixing the gutters of facade walls | m |  |  | 133.00 |  |
| 8.4 | Purchase and transport of material, cutting and placement of hidden horizontal gutter overhang of the main entrance, made of galvanized flat sheet = 100 cm, complete with sockets for shaping the fall of the gutter on both sides of the awning | m |  |  | 12.50 |  |
| 8.5 | Supply and installation of external windows with a width of 20 cm, made of galvanized steel | m |  |  | 130.46 |  |
| TOTAL SHEET METAL WORKS |  |  |  |  |  |  |
| 9 | VARIOUS WORKS |  |  |  |  |  |
| 9.1 | Cleaning the facade carpentry after completion of construction works | m2 |  |  | 350.00 |  |
| 9.2 | Supply and installation of internal parapet boards of a window with a width of 20 cm, made of veneer splinter d = 20 mm, white with edging tape from the front | m2 |  |  | 130.46 |  |
| 9.3 | Coloring the existing metal balcony railings with oil paint in two layers, with pre scrape old paint | m2 |  |  | 14.15 |  |
| TOTAL VARIOUS WORKS |  |  |  |  |  |  |
|  | RECAPITULATION ARHITECTURE |  |  |  |  |  |
| 1 | ORGANIZING OF THE BUILDING SITE |  |  |  |  |  |
| 2 | PREVIOUS WORK - DEMOLITION AND DISMANTLING |  |  |  |  |  |
| 3 | MASONRY WORK |  |  |  |  |  |
| 4 | INSULATOR WORK |  |  |  |  |  |
| 5 | CARPENTER WORK |  |  |  |  |  |
| 6 | FACADE WORKS |  |  |  |  |  |
| 7 | ROOF WORKS |  |  |  |  |  |
| 8 | SHEET METAL WORKS |  |  |  |  |  |
| 9 | VARIOUS WORKS |  |  |  |  |  |
|  | TOTAL ARHITECTURE (EURO) |  |  |  |  |  |
| 2. SOLAR SYSTEM FOR HOT WATER |  |  |  |  |  |  |
| 1. | Boiler for heating the hot water with V = 300 liters F 600 x 1450 mm with two heat exchangers equipped with all input output connections, an electric heater of 4.5 KW and isolated. | no |  |  | 1.00 |  |
| 2. | Solar panels - collector WK 2,55 m2 | piece |  |  | 2.00 |  |
| 3. | Complete equipment for fixing the roof panel. | piece |  |  | 2.00 |  |
| 4. | Collector Installation of pump, valves, thermometers and gauge setup flow. | piece |  |  | 1.00 |  |
| 5. | Expansion tank with V = 24 liters | piece |  |  | 1.00 |  |
| 6. | Regulator for solar heating. | piece |  |  | 1.00 |  |
| 7. | Set ventilation 3/4 | piece |  |  | 1.00 |  |
| 8. | Set tubing copper pipes NO 35 armafleks insulated with 9 mm thick. | m |  |  | 48.00 |  |
| 9. | Electrical installation pump, electric heater and sounding lead is charged | aprox. |  |  | 1.00 |  |
| TOTAL |  |  |  |  |  |  |
|  | TOTAL RECAPITULATION |  |  |  |  |  |
| 1 | CONSTRUCTION WORKS - ARCHITECTURE |  |  |  |  |  |
| 2. | SOLAR SYSTEM FOR HOT WATER |  |  |  |  |  |
|  | TOTAL LUMP-SUM PRICE |  |  |  |  |  |