## Sheet1
Subject
for executing constructive works
Establishment of recreation centre DINKJUT,
Municipality of Gevgelija
ARCHITECTURE AND CONSTRUCTION
Gground works
1. | Excavation of soil in wide size - layer of 30 cm along with planning of the field - Walkways | m3 | 753.6 | x |  |  | 0 | 753.6
2. | Excavation of soil in wide size - layer of 30cm along with planning of the field - Playgrounds | m3 | 134.7 | x |  |  | 0 | 134.7
3. | Excavation of soil in wide size - layer of 30cm along with planning of the field - Summer cinema and area for fitness and gymnastics | m3 | 78 | x |  |  | 0 | 78
3. | Excavation of soil narrow in size for foundation tracks and footing | [5 empty] | 0
| -foundation tracks for gazebos | m3 | 3.168 | x |  |  | 0 | 3.168
| -foundation footing for playthings (playground with playthings from natural materials, small amusement park with modern equipment, rock climbing) | m3 | 13.6 | x |  |  | 0 | 13.6
| -foundation footing for equipment for fitness trail | m3 | 5.6 | x |  |  | 0 | 5.6
| -foundation footing for informative boards | m3 | 2.44 | x |  |  | 0 | 2.44
| -foundation footing for benches | m3 | 2 | x |  |  | 0 | 2
| -foundation footing for litter bins | m3 | 2 | x |  |  | 0 | 2
| -foundation footing for lamps | m3 | 8 | x |  |  | 0 | 8
| -foundation lanes for concrete socle around a playground, an amusement park, a wall for rock climbing,a playground for futsal, an area for fitness and gymnastics | m3 | 25.44 | x |  |  | 0 | 25.44
4. | Transport of escavated soil at dumping ground | m3 | 753 | x |  |  | 0
5. | Construction of a layer (planning, alignment and denting of the field) - Walkways | m2 | 2512 | x |  |  | 0 | 2512
6. | Construction of a layer (planning, alignment and denting of the field) - Summer cinema and area for fitness and gymnastics | m2 | 260 | x |  |  | 0 | 260
7 | Construction of a layer (planning, alignment and denting of the field) - Playgrounds | m2 | 449 | x |  |  | 0 | 449
8. | Construction of a dam from tampon material in a layer of 20 sm. As final layer before setting a path with final processing with concrete tiles and printed concrete. In the price are included the planning and pressing of the layer | m3 | 436 | x |  |  | 0 | 436
9. | Construction of a dam from fill in material in a layer of 20 sm. For finalization pressed base before placing geotextile and layer of white rocky of 10-50 mm in the summer cinema and the area for fitness and gymnastics. | m3 | 48 | x |  |  | 0 | 48
10. | Construction of a dam with fill in material in a layer of 20 sm. for finalization pressed base before placement of geotextile and sand layer in the playground for playthings from natural materials, an amusement park with modern equipment, artificial rock for climbing. | m3 | 75.4 | x |  |  | 0 | 75.4
11 | Supply, transport and installment of geotextile placed between pressed land and final layer of white rocky 10-50 mm in the summer cinema and the area for fitness and gymnastics and sand in the playground, the small amusement park and area for artificial rock | m2 | 652 | x |  |  | 0 | 652
12. | Construction of a base in summer cinema from white rocky 10-50 mm as a fill in the interspace in the summer cinema and the area for fitness and gymnastics. | m3 | 51 | x |  | = | 0 | 51
13. | Construction of sand base in a playground, amusement park and area for artificial rock. | m3 | 75.4 | x |  |  | 0 | 75.4
Total:
Concrete works
1. | Boarding and concreting of foundation tracks that are part of foundation construction for gazebo with concrete MB 30 | m3 | 3.2 | x |  |  | 0 | 3.2
2. | Boarding and concreting AB wall and foundation track, designed like an artificial rock for climbing | m3 | 10.96 | x |  |  | 0 | 10.96
| Supply and installment of reinforcement Q-335 - market | kg | 416.59 | x |  |  | 0 | 416.59
3. | Boarding and concreting of concrete socle around a playground, amusement park, wall for rock climbing, playground for football, area for fitness and gymnastics (dimensions of foundation track 0.3h0.3m, dimension of socle wall 0.15h0.3m), L=318m | m3 | 42.93 | x |  |  | 0 | 42.93
4. | Concreting foundation footing with MB 30 : | m3 | 0 |  |  |  | 0
| -foundation footing for playthings (playground with playthings from natural materials, small amusement park with modern equipment, a wall for rock climbing) | m3 | 13.6 | x |  |  | 0 | 13.6
| -foundation footing for equipment for trim path | m3 | 5.6 | x |  |  | 0 | 5.6
| -foundation footing for informative boards | m3 | 2.44 | x |  |  | 0 | 2.44
| -foundation footing for benches | m3 | 2 | x |  |  | 0 | 2
| -foundation footing for litter bins | m3 | 2 | x |  |  | 0 | 2
5. | Concreting of AB paths with floor panels D min=12 sm with final elaboration by monolit final layer 3-5 mm like a printed concrete with an imitation of rocks finally treated with all necessary coatings. The concrete is made in fields not bigger than 30 m2 with clear fugue between the fields. The floor plate is made with falls to enable undisturbed watering. | m2 | 2178 | x |  |  | 0 | 2178
| Supply and installation of reinforcement RA-2 - market | kg | 1249 | x |  |  | 0 | 1249
| Supply and installment of net reinforcement - market | kg | 12646 | x |  |  | 0 | 12646
6. | Moulding, transport and built-in of a platform for tap for drinking water (according to given drawings) | num. | 2 | x |  |  | 0 | 2
[5 empty] | Total |  | 0
Carpentry works
1. | Supply, transport of timber and wooden construction of gazebo from wooden beams with round dimension of F12 fixed by steel construction for concrete foundation, height of the pile - 220 sm and joint beam with dimension 12/12 sm, decorative "H" elements and partial closing of the angles like a barrier (according to graphic display) | num. | 3 | x |  |  | 0 | 3
2. | Supply, transport of timber and construction of a roof on a gazebo according to given drawings (finished with grating and coated for protection), covered with green shingle | m2 | 60 | x |  |  | 0 | 60
3. | Supply, transport of timber and construction of roof on the subsidiary building according to given drawings (finished with grating and coated for protection) and covering with tiles placed upon laths in two ways and sills that are d=2,4 sm thick | m2 | 29 | x |  |  | 0 | 29
4. | Construction of wooden table and benches made by beech (according to given drawings), finished with grating and coated for protection, situated in each of the gazebos | num. | 3 | x |  |  | 0 | 3
5. | Summer cinema |  | 0 |  |  |  | 0
| Construction of wooden benches made by beech (according to given drawings), finished with grating and coated for protection, situated as a small amphitheatre | num. | 18 | x |  |  | 0 | 18
6. | Playground with equipment from natural materials |  | 0 |  |  |  | 0
| -Open wooden house for children (according to given drawings) | num. | 1 | x |  |  | 0 | 1
| -Double wooden swing like a horse (according to given drawings) | num. | 1 | x |  |  | 0 | 1
| -Double, wooden, classical swing (according to given drawings) | num. | 1 | x |  |  | 0 | 1
| -Wooden lever swing (according to given drawings) | num. | 2 | x |  |  | 0 | 2
| -Wooden element for climbing (according to given drawings) | num. | 1 | x |  |  | 0 | 1
| -Construction from ropes (according to given drawings) | num. | 1 | x |  |  | 0 | 1
7. | Equipment for trim path |  | 0 |  |  |  | 0
| -Element from wooden logs (according to given drawings) | num. | 2 | x |  |  | 0 | 2
| -A bridge from wooden beams connected by steel sinxir (according to given drawings) | num. | 1 | x |  |  | 0 | 1
| -"Z" beam for moving (according to given drawings) | num. | 1 | x |  |  | 0 | 1
| -straight beam for walking (according to given drawings) | num. | 2 | x |  |  | 0 | 2
| -wooden device for stretching (according to given drawings) | num. | 1 | x |  |  | 0 | 1
8. | Carpentry in subsidiary building that needs reconstruction |  | 0 |  |  |  | 0
| -window (wooden hands and termopan glass d=6mm) 90/140 | num. | 2 | x |  |  | 0 | 2
| -wooden door 90/120 | num. | 1 | x |  |  | 0 | 1
[5 empty] | Total |  | 0
Locksmith works
1. | Supply, transport and installment of litter bins made by beech beams placed on a metal construction (the beams and the metal construction are finished with grating and coated for protection) | num. | 26 | x |  |  | 0
2. | Supply, transport and construction of benches for seating made by wooden beams from beech placed on a metal construction (the beams and the metal construction are finished with grating and coated for protection) | num. | 11 | x |  |  | 0
3. | Supply, transport of materials and construction of informative board 2.6 m2 at the entrance made by white waterproof plywood built-in a frame made by kutiest metal 60/50 mm with thickness of wall d=3 mm placed on seven wooden piles of 10/15 sm. and height of 70 to 290sm. (the piles and the metal frame are finished with grating and coated for protection) | num. | 1 | x |  |  | 0
4. | Supply and transport of materials and construction of informative board 120/200 sm at the entrance from waterproof whiteplywood built-in a frame made from kutiest metal 60/50 mm thickness of wall d=3 mm placed on seven wooden piles of 10/15 sm. and height of 220sm. (the piles and the metal frame are finished with grating and coated for protection) | num. | 1 | x |  |  | 0
5. | Supply, and transport of materials and construction of board for projection of movies with surface of 8m2 made by waterproof white plywood built-in a frame made from metal 60/50 mm d=3 mm thickness of wall placed on wooden piles and beam (25/15 sm). and joint elements from steel 0.5mm. (according to given drawings). (the piles and the metal frame are finished with grating and coated for protection) | num. | 1 | x |  |  | 0
5. | Supply, transport of materials and construction of lamps (according to given drawings) | num. | 32 | x |  |  | 0
[5 empty] | Total |  | 0
Plastering works
1. | Inner and external plastering of the walls with plaster 1:3:9 | m² | 77.44 | x |  |  | 0
2. | Whitewash of the inner areas of the walls | m² | 38.72 | x |  |  | 0
3. | Painting of the outside areas of the walls | m² | 38.72 | x |  |  | 0
[5 empty] | Total |  | 0
Other things
1. | Supply, transport and installment of modern equipment for amusement park for children | [5 empty] | 0
| -trampoline | num. | 1 | x |  |  | 0
| -toboggan | num. | 1 | x |  |  | 0
| -lever swing | num. | 2 | x |  |  | 0
| -swing fixed on a spring | num. | 1 | x |  |  | 0
| -classical double swing | num. | 2 | x |  |  | 0
2. | Supply, transport and installment of equipment for fitness and gymnastics | [5 empty] | 0
| -devices for exercising from a well known manufacturer | num. | 6 | x |  |  | 0
3. | Supply and placement of rail for parking bikes | num. | 2 | x |  |  | 0
4. | Goals for futsal | num. | 2 | x |  |  | 0
[5 empty] | Total |  | 0
Total ARCHITECTURE AND CONSTRUCTION
WATERWORKS AND SANITATION
Previous works
1. | Geodetics marking of the track with coordinates and apsolute elevation | m | 347 | x |  |  | 0 | 347
[5 empty] | Total |  | 0
Soil works
1. | Mechanical digging of trench 3,4 and 5th category (50%,30%,20%) with manual digging to the bottom | м3 | 208.2 | x |  |  | 0 | 208.2
2. | Supply and manual built-in of separative sand d=10см at the bottom of the trench | м3 | 20.82 | x |  |  | 0 | 20.82
3. | Manual filling in of trench with soil by pressing to 20см above the top of the pipe | м3 | 62.46 | x |  |  | 0 | 62.46
4. | Mechanical placement of soil in the trench with mechanical pressing in layers from 20:30см | м3 | 104.1 | x |  |  | 0 | 104.1
5. | Loadin and transport of soil from the place of digging to the dumping л=1,0км | м3 | 41.64 | x |  |  | 0 | 41.64
[5 empty] | Total |  | 0
Installation things
1. | Supply and installation of water pipes from polyvinyl chloride with cap parts and screws with diameter: |  | 0 |  |  |  | 0
| NP-6bars D=11 | м | 207 | x |  |  | 0 | 207
| NP-6bars D=63 | м | 30 | x |  |  | 0 | 30
| NP-6bars D=40 | м | 110 | x |  |  | 0 | 110
| NP-6bars D=20 | м | 50 | x |  |  | 0 | 50
2. | Supply and installation of: |  | 0 |  |  |  | 0
| Oval closers Ф50 NP-6bars | num. | 2 | x |  |  | 0 | 2
| joint pieces with cast iron SP 50/400 | num. | 2 | x |  |  | 0 | 2
| Reduction with brims from cast iron RP 100/50 | num. | 1 | x |  |  | 0 | 1
| Watermeter DN 50 NP 10bars | num. | 1 | x |  |  | 0 | 1
| Above ground fire hydrant DN 80 | num. | 2 | x |  |  | 0 | 2
| Underground groove DN 80 with built-in set | num. | 2 | x |  |  | 0 | 2
| Sprayer from ½ | num. | 40 | x |  |  | 0 | 40
| taps for drinking water | num. | 2 | x |  |  | 0 | 2
[5 empty] | Total |  | 0
Concrete and reinforced concrete things
1. | Construction of AB watermeter pit complete with a lid grey G=80kgr. F520 and concrete MB-30 with dimensions 120/180/140 см | num. | 1 | x |  |  | 0 | 1
2. | Construction of anchoring blocks of piping on parts of horizontal fractures from MB-30 | м3 | 1 | x |  |  | 0 | 1
[5 empty] | Total |  | 0
[5 empty] | Total PHASE WATERWORKS AND SANITATION |  | 0
ELECTRICS
Electric connection and energetics
1. | Electric energetic socket, completely with a request, submitted technical documentation and issued decision by EVN | num. | 1 | x |  |  | 0 | 1
2. | Supply, transport and delivery, with placing in previously made trench of water supply cable type PP00‐Y(NYY) 5h10mm2, from new МРО (GMRT) box placed by EVN to GRT placed in the technical area. | num. | 17 | x |  |  | 0 | 17
[5 empty] | Total |  | 0
Boxes
1. | Supply, transport and delivery, with installation of metal box GRT with dimensions min(500х600х200мм), fixed on a wall in the technical room, with a lock, DD, from double pickled sheet, and free area of 30%, with the following elements: | num. | 1 | x |  |  | 0 | 1
| ВС clamps 16(4,2.5)мм2 | num. | 30 | x |  |  | 0 | 30
| АС switch 63А | num. | 1 | x |  |  | 0 | 1
| time relay - timer lap | num. | 1 | x |  |  | 0 | 1
| photo-relay with photo drill | num. | 1 | x |  |  | 0 | 1
| contactor 10А | num. | 3 | x |  |  | 0 | 3
| automatic fuses 32A 1P | num. | 15 | x |  |  | 0 | 15
| automatic fuses 6‐25A 1P | num. | 20 | x |  |  | 0 | 20
| tripole automatic fuse 16А 3P | num. | 1 | x |  |  | 0 | 1
| copper rail for connections (1P/3P). | num. | 1 | x |  |  | 0 | 1
| small screw and unspecified material. | pau | 1 | x |  |  | 0 | 1
| electric installation works | num. | 1 | x |  |  | 0 | 1
2. | Supply, transport and delivery, with installation of metal box РТ‐Х (1‐3)with dimensions min(400х400х200мм), fixed on previously made concrete foundation, with a lock, DD, from double pickled sheet, for outdoor conditions, IP65, with the following elements: | num. | 3 | x |  |  | 0 | 3
| VS clamps 16мм2 | num. | 4 | x |  |  | 0 | 4
| RCD switch 40/0.3А 4P | num. | 1 | x |  |  | 0 | 1
| automatic fuses 16A 1P | num. | 3 | x |  |  | 0 | 3
| tripole automatic fuse 16А 3P | num. | 1 | x |  |  | 0 | 1
| Schuko socket with cover ‐ monophase 16А | num. | 3 | x |  |  | 0 | 3
| triphase socket with cover ‐ 16А | num. | 1 | x |  |  | 0 | 1
| copper connection rail (1P/3P). | num. | 1 | x |  |  | 0 | 1
| small screw and unspecified material | pau | 1 | x |  |  | 0 | 1
| electric installation works | num. | 1 | x |  |  | 0 | 1
[5 empty] | Total |  | 0
Grounding and construction works
1. | Digging a trench with 0,4х0,8м for water supply cable, by a machine, in soil from category III or IV and filling it up to return it in the initial condition. | m | 8 | x |  |  | 0 | 8
2. | Digging a trench with 0,4х0,6м dimensions for placing a cable for the lamps, manually or by a machine, in soil from category III or IV and filling up to return it in the initial condition 3.2. | m | 870 | x |  |  | 0 | 870
3. | Construction of concrete fundamentals (600х600х800мм) for the lamps, completely with digging, moulding, anchoring, leveling, concreting, setting of PVC pipe Ф110мм for dragging the cables, with 3.3 final works | num. | 33 | x |  |  | 0 | 33
[5 empty] | Total |  | 0
Grounding
1. | Supply, transport and delivery, and setting of zink lace FeZn 25x5mm in previously hollowed trench, for performing protective grounding for the boxes and lamps | kg | 750 | x |  |  | 0 | 750
2. | Connection of the zink lace with the boxes by yellow-green conduit P/F 1x10mm2, protective grounding | num. | 4 | x |  |  | 0 | 4
3. | Connection for zink lace with the lamps | num. | 33 | x |  |  | 0 | 33
4. | Supply, transport and delivery, with installation of cross joint 60х60мм | num. | 50 | x |  |  | 0 | 50
[5 empty] | Total |  | 0
Technical room (electric installation)
| For all items the set of supply, transport and installation is valid |  | 0 |  |  |  | 0
1. | Schuko jack 230V 16A | num. | 6 | x |  |  | 0 | 6
2. | Triphase socket 380V 16A | num. | 1 | x |  |  | 0 | 1
3. | power switcher serial 230V 10A | num. | 2 | x |  |  | 0 | 2
4. | schuko socket with cover ‐ monophase 16А | num. | 1 | x |  |  | 0 | 1
5. | Outdoor light (façade) | num. | 2 | x |  |  | 0 | 2
6. | Indoor light (ceiling) | num. | 4 | x |  |  | 0 | 4
7. | Computer connector | num. | 1 | x |  |  | 0 | 1
8. | Surveilance system, with 2 outdoor cameras, DVR, adapters, transformer and other materials, a set with functional examination and training of the personnel | num. | 1 | x |  |  | 0 | 1
9. | Controlling system of the access in the area, with all elements and functional examination | num. | 1 | x |  |  | 0 | 1
10. | Communication box for external connection from external provider. | num. | 1 | x |  |  | 0 | 1
11. | Electric connection of machine installations (watering system, airconditioning and so on) | num. | 2 | x |  |  | 0 | 2
12. | Electric installation works (technical room) | num. | 1 | x |  |  | 0 | 1
13. | dose,plaster, PVC hose, small screw material | num. | 1 | x |  |  | 0 | 1
[5 empty] | Total |  | 0
Cables
| For all items the set of supply, transport and installation is valid |  | 0 |  |  |  | 0
1. | PP‐Y 3x1,5mm2 | m | 165 | x |  |  | 0 | 165
2. | PP‐Y 3x2,5mm2 | m | 50 | x |  |  | 0 | 50
3. | PP‐Y 5x2,5mm2 | m | 15 | x |  |  | 0 | 15
4. | PP00‐Y (NYY) 4x4mm2 | m | 1057 | x |  |  | 0 | 1057
5. | PP00‐AY (NAYY) 4x16mm2 | m | 485 | x |  |  | 0 | 485
6. | SFTP 4x2x0.25AWG cat5 | m | 20 | x |  |  | 0 | 20
[5 empty] | Total |  | 0
Outdoor illumination
1. | Supply, transport and delivery, and installation of metal lamp post 4m (for lamp) outdoor illumination | num. | 33 | x |  |  | 0 | 33
2. | Supply, transport and delivery of anchor plate for the metal lamp post | num. | 33 | x |  |  | 0 | 33
3. | Supply, transport and installation of holder for the metal lamp post, on which the LED light is installed | num. | 33 | x |  |  | 0 | 33
4. | Supply, transport and installation of LED light as type Atra 40W | num. | 33 | x |  |  | 0 | 33
5. | Electric installation works (lamps) | num. | 33 | x |  |  | 0 | 33
[5 empty] | Total |  | 0
Miscellaneous
1. | Attests for measured values of protective grounding, with issuing confirmations from the results | num. | 6 | x |  |  | 0 | 6
2. | Project of the condition of performance | num. | 1 | x |  |  | 0 | 1
3. | Unforeseen things from Items 1-7 to 5% that in amount can be performed under the order of the supervisory engineer | % | 5 | x |  |  | 0 | 5
[5 empty] | Total |  | 0
[5 empty] | Total ELECTRICITY PHASE |  | 0
Total for ALL PHASES without VAT
[5 empty] | VAT 18% |  | 0
[5 empty] | Total for ALL PHASES with included VAT |  | 0
Mayor of Municipality of Gevgelija
Ivan Frangov

## Sheet2 (hidden)
Predmer
za izveduvawe grade`ni raboti
Objekt gradski pazar Ggevgelija
I PAZAR
Zemjani raboti
1. | Iskop zemja vo {irok obem - ~istewe na humus vo sloj od 30 sm. zaedno so planirawe na terenot | m3 | 1952.55 | h | = | 0
2. | Iskop zemja vo tesen obem za temeli samci | m3 | 103.53 | h | = | 0
3. | Iskop zemja vo tesen obem za temelni traki |  |  |  |  | 0
| -temelni traki del od temelnata konstrukcija za pokrivnata konstrukcija | m3 | 160.896 | h | = | 0
| -temelni traki za yidovi vo parter prema ulica Mile Pecanov i del prema novopredviden parking | m3 | 45.456 | h | = | 0
4. | Odvoz na iskopanata zemja vo deponia | m3 | 2056.08 | h | = | 0
5. | Izrabotka nasip od nasipen materijal vo sloevi ne povisoki od 40 sm. Zaedno so nabivawe i planirawe na sloevite | m3 | 6183.075 | h | = | 0
6. | Izrabotka nasip od tamponski materijal vo sloj od 20 sm. kako zavr{en sloj pred postavuvawe zavr{na betonska podna plo~a Vo cenata se predviduva nabivawe i planirawe na slojot | m3 | 1301.7 | h | = | 0
0
Betonski raboti
1. | Betonirawe temeli samci koi se del od temelnata konstrukcija za pokrivnata konstrukcija od pazarot so beton MB 30 | m3 | 131.95 | h | = | 0
2. | Betonirawe temelni traki koi se del od temelnata konstrukcija za pokrivnata konstrukcija na pazarot so beton MB 30 | m3 | 37.1325 | h | = | 0
3. | Betonirawe temelni traki koi se del od temelnata konstrukcija za pokrivnata konstrukcija na pazarot yid prema supermarketot so beton MB 30 | m3 | 64.25 | h | = | 0
4. | Betonirawe temelni traki za yidovi vo parter prema ulica Mile Pecanov i del prema novopredviden parking so beton MB 30 | m3 | 100.38 | h | = | 0
5. | Betonirawe A.B yidovi d=20 sm vo parter prema ulica Mile Pecanov i del prema novopredviden parking so beton MB 30 | m3 | 52.8188 | h | = | 0
6. | Betonirawe A.B potporen yid koj e del od pokrivnata konstrukcija na pazarot so beton MB 30 | m3 | 161.91 | h | = | 0
7. | Betonirawe skali na teren {irina na gazi{te 30 sm , visina 16 sm i dol`ina 190 sm so beton MB 30 vlez vo pazar | m1 | 38 | h | = | 0
8. | Betonirawe rampa na teren so beton MB 30 d=15 sm. Betonot e armiran so armaturna mre`a i izbrazden so fugi so {irina 2 sm na 40 sm rastojanie - vlez vo pazar. | m2 | 9.36 | h | = | 0
9. | Betonirawe sloj od 5 sm mr{av beton | m2 | 5888.5 | h | = | 0
10. | Betonirawe podna plo~a D min=15 sm so zavr{na obrabotka so monoliten zavr{en nanos 3-5 mm proizveden na cementna osnova i kvarcno lepilo Betoniraweto se vr{i vo polina ne pogolemi od 30 m2 so vidlivi fugi pome¦u poliwata koi se betoniraat. Podnata plo~a se izveduva so padovi kako bi se ovozmo`ilo nesmetano odvodnuvawe. | m2 | 5888.5 | h | = | 0
11. | Centrirawe ankeri za stolbovi od ~elienata konstrukcija | br | 112 | h | = | 0
12. | Nabavka i vgraduvawe armatura RA-2 - pazar | kg | 35387 | h | = | 0
13. | Nabavka i vgraduvawe mre`asta armatura - Pazar | kg | 30885 | h | = | 0
14. | Nabavka i vgraduvawe armatura RA2 - za armiranobetonski temeli i potporni yidovi koi se del od parter | kg | 5644 | h | = | 0
15. | Betonirawe AB pateki okolu objektot MB 30 d=15 sm armirani so mre`asta armatura. Patekite se zavr{no obraboteni so pe~aten beton | m2 | 620 | h | = | 0
0
^eli~na konstrukcija
1. | Nabavka materijal i izrabotka ankeri za stolbovi od ~elienata konstrukcija | kg | 12182 | h | = | 0
2. | Nabavka materijal, izrabotka i monta`a ~eli~na konstrukcija zaedno so minizirawe | kg | 168113.1 | h | = | 0
3. | Farbawe na ~eli~nata kostrukcija so mrsna boja za metal | kg | 168113.1 | h | = | 0
0
Limarski raboti
1. | Pokrivawe krov so termoizolacionen kroven panel d=15 sm vrz ~eli~na konstrukcija | m2 | 4646.56 | h | = | 0
2. | Pokrivawe krov so pove}e slojni providni polikarbonatni plo~i d=2 sm vrz ~eli~na konstrukcija | m2 | 1397.4375 | h | = | 0
3. | Nabavka i monta`a termoizolacionen yiden panel d 5 sm na yidovi vrz ~eli~na konstrukcija | m2 |  |  |  | 0
| po boja zelen | m2 | 530 | h | = | 0
| po boja crven | m2 | 730 | h | = | 0
4. | Izrabotka i monta`a uvali od pocinkuvan lim so r.{. 168 sm. postaven na metalni dr`a~i. Olukot le`i na vodootporna iverica | m1 | 128.3 | h | = | 0
5. | Izrabotka i monta`a skrieni le`e~ki oluci od pocinkuvan lim so r.{. 219 sm. postaven na metalni dr`a~i. Olukot le`ina termoizolacionen panel po detal | m1 | 128.3 | h | = | 0
6. | Izrabotka imonta`a vertikalni oluci dadena vo predmer za vodovod | m1 |  |  |  | 0
0
Razni raboti
1. | Izrabotka i monta`a metalna ograda okolu celiot prostor na pazarot po detal | m1 | 311.7 | h | = | 0
2. | Zavr{na obrabotka na betonskite yidovi so ivi~waci od paver elementi | m1 | 162.76 | h | = | 0
3. | Obrabotka vidlivata strana od betonskite yidovi so pe~aten beton | m2 | 424.436 | h | = | 0
3. | Ozelenuvawe prostor so zasaduvawe na nisko steblesti drva | m2 | 211.588 | h | = | 0
0
0
I - 1 DU]ANI
koli~inite se za eden du}an
1. | Betonirawe betonska podna plo~a d=10 sm so beton MB 30 | m2 | 23.6 | h | = | 0
2. | Izrabotka armirano betonska cementna ko{ulica d=5 sm. | m2 | 23.6 | h | = | 0
3. | Izrabotka yidovi so vodootporni cementni d=1.25 sm i tervol d=10 sm. Tablite se postavuvaat na metalni profili koi se upotrebuvaat za izrabotka gipsani yidovi | m2 | 73.8609 | h | = | 0
4. | Izrabotka yidovi so vodootporni cementni tabli d=1.25 sm postaveni ednostrano - oblagawe fasaden yid od pazarot i prostorot nad tavanot do krovot od pazarot. Tablite se postavuvaat na metalni profili koi se upotrebuvaat za izrabotka gipsani yidovi | m2 | 21.952 | h | = | 0
5. | Oblagawe postoe~kite stolbovi od pazarot so vodootporni cementni tabli d=1.25 sm | m1 | 7.76 | h | = | 0
6. | Izrabotka stolbovi so vodootporni cementni tabli i tervol d=10 sm. Tablite se postavuvaat na metalni profili koi se upotrebuvaat za izrabotka gipsani yidovi. Stolbovite slu`at za pricvrstuvawe na izlozite i vleznite vrati | m1 | 11.64 | h | = | 0
7. | Izrabotka spu{ten tavan od gips kartonski plo~i | m2 | 23.6 | h | = | 0
8. | Nabavka i postavuvawe tervol d=15 sm nad spu{teniot tavan | m2 | 23.6 | h | = | 0
9. | Nabavka i postavuvawe podni kerami~ki plo~ki | m2 | 23.6 | h | = | 0
10. | Nabavka i postavuvawe yidni kerami~ki plo~ki | m2 | 45.9856 | h | = | 0
11. | Molerisuvawe yidovi od cementni tabli so polikolor zaedno so gletovawe | m2 | 63.3304 | h | = | 0
12. | Zavr{na obrabotka na yidovite od nadvore{na strana so mre`i~ka, lepak i plasti~en maltetr | m2 | 77.1443 | h | = | 0
13. | Izrabotka i monta`a prozori, izlozi i vrati od Al. profili |  |  |  |  | 0
| poz 1 100/300 | br. | 1 | h | = | 0
| poz B 255/300 | br. | 1 | h | = | 0
14. | Nabavka i monta`a vnatre{ni vrati od Aluminiumski profili |  |  |  |  | 0
| poz 5 80/205 | br. | 2 | h | = | 0
0
| za {esnaeset du}ani |  | 16 | h | = | 0
I - 2 administracija
1. | Betonirawe betonska podna plo~a d=10 sm so beton MB 30 | m2 | 68.8 | h | = | 0
2. | Izrabotka armirano betonska cementna ko{ulica d=5 sm. | m2 | 68.8 | h | = | 0
3. | Izrabotka yidovi so vodootporni cementni tabli d=1.25 sm i tervol d=10 sm. Tablite se postavuvaat na metalni profili koi se upotrebuvaat za izrabotka gipsani yidovi | m2 | 167.4506 | h | = | 0
4. | Izrabotka yidovi so vodootporni cementni tabli d=1.25 smpostaveni ednostrano - oblagawe fasaden yid od pazarot i prostorot nad tavanot do krovot od pazarot. Tablite se postavuvaat na metalni profili koi se upotrebuvaat za izrabotka gipsani yidovi | m2 | 51.87 | h | = | 0
5. | Oblagawe postoe~kite stolbovi od pazarot so vodootporni cementni tabli d=1.25 sm | m1 | 15.52 | h | = | 0
6. | Izrabotka spu{ten tavan od gips kartonski plo~i | m2 | 68.8 | h | = | 0
7. | Nabavka i postavuvawe tervol d=15 sm nad spu{teniot tavan | m2 | 68.8 | h | = | 0
8. | Nabavka i postavuvawe podni kerami~ki plo~ki | m2 | 21.2 | h | = | 0
9. | Nabavka i postavuvawe yidni kerami~ki plo~ki | m2 | 35.502 | h | = | 0
10. | Molerisuvawe yidovi od cementni tabli so polikolor zaedno so gletovawe | m2 | 421.4012 | h | = | 0
11. | Zavr{na obrabotka na yidovite od nadvore{na strana so mre`i~ka, lepak i plasti~en malter | m2 | 143.826 | h | = | 0
12. | Izrabotka i monta`a prozori, izlozi i vrati od Al. profili |  |  |  |  | 0
| poz 4 90/225 | br. | 2 | h | = | 0
| poz B 176/140 | br. | 2 | h | = | 0
| poz V 181/140 | br. | 1 | h | = | 0
| poz G 185/140 | br. | 2 | h | = | 0
| poz D 490/140 | br. | 1 | h | = | 0
13. | Nabavka i monta`a vnatre{ni vrati od Aluminiumski profili |  |  |  |  | 0
| poz 5 80/205 | br. | 3 | h | = | 0
| poz 2 90/205 | br. | 2 | h | = | 0
14. | Nabavka i postavuvawe laminat | m2 | 47.6 | h | = | 0
0
I - 3 sanitaren ~vor
1. | Betonirawe betonska podna plo~a d=10 sm so beton MB 30 | m2 | 80.8 | h | = | 0
2. | Izrabotka armirano betonska cementna ko{ulica d=5 sm. | m2 | 80.8 | h | = | 0
3. | Izrabotka yidovi so vodootporni cementni tabli i tervol d=10 sm. Tablite se postavuvaat na metalni profili koi se upotrebuvaat za izrabotka yidovi od gips karton. |  |  |  |  | 0
| d=13 sm | m2 | 73.332 | h | = | 0
| d=28 sm | m2 | 47.1032 | h | = | 0
| d=20 sm | m2 | 48.888 | h | = | 0
4. | Izrabotka yidovi so vodootporni cementni tabli d=1.25 smpostaveni ednostrano - oblagawe fasaden yid od pazarot i prostorot nad tavanot do krovot od pazarot. Tablite se postavuvaat na metalni profili koi se upotrebuvaat za izrabotka gipsani yidovi | m2 | 51.87 | h | = | 0
5. | Izrabotka pregradi pome¦u kabinite od polni paneli | m2 | 32.97 | h | = | 0
6. | Izrabotka pregradi pome¦u pisoarite od polni paneli | m2 | 5.04 | h | = | 0
7. | Izrabotka spu{ten tavan od gips kartonski plo~i | m2 | 68.8 | h | = | 0
8. | Nabavka i postavuvawe tervol d=15 sm nad spu{teniot tavan | m2 | 68.8 | h | = | 0
9. | Nabavka i postavuvawe podni kerami~ki plo~ki | m2 | 68.8 | h | = | 0
| Nabavka i postavuvawe yidni kerami~ki plo~ki | m2 | 278.6884 | h | = | 0
10. | Molerisuvawe yidovi od cementni tabli so polikolor zaedno so gletovawe | m2 | 95.9912 | h | = | 0
11. | Zavr{na obrabotka na yidovite od nadvore{na strana so mre`i~ka, lepak i plasti~en malter | m2 | 143.826 | h | = | 0
12. | Izrabotka i monta`a prozori, izlozi i vrati od Al. profili |  |  |  |  | 0
| poz 1 90/205 | br. | 2 | h | = | 0
13. | Nabavka i monta`a vnatre{ni vrati od Aluminiumski profili | br. |  |  |  | 0
| poz 3 90/205 | br. | 6 | h | = | 0
| poz 5 80/205 | br. | 8 | h | = | 0
0
I - 4 parkirali{te za Pazar
1. | Iskop zemja vo {irok obem - ~istewe na humus vo sloj od 30 sm. zaedno so planirawe na terenot | m3 | 634.5 | h | = | 0
2. | Odvoz na iskopanata zemja vo deponia | m3 | 634.5 | h | = | 0
3. | Izrabotka nasip od nasipen materijal . Zaedno so nabivawe i planirawe na sloevite | m3 | 846 | h | = | 0
4. | Izrabotka nasip od tamponski materijal vo sloj od 30 sm. kako zavr{en sloj pred postavuvawe zavr{na betonska podna plo~a Vo cenata se predviduva nabivawe i planirawe na slojot | m3 | 528.75 | h | = | 0
5. | Nabavka i postavuvawe BNS d=8 sm | m2 | 2115 | h | = | 0
6. | Nabavka i postavuvawe sloj za abawe d=5 sm | m2 | 2115 | h | = | 0
7. | Nabavka i postavuvawe ivi~waci 16/24 sm | m1 | 139 | h | = | 0
0
PRESMETAL
Q.Kova~eski dipl.gr.in`.
I - 1 DU]ANI - vremen objekt
koli~inite se za eden du}an
1. | Betonirawe betonska podna plo~a d=25 sm so beton MB 30 | m2 | 18.95 | h | = | 0
2. | Izrabotka armirano betonska cementna ko{ulica d=5 sm. | m2 | 18.95 | h | = | 0
3. | Izrabotka yidovi so vodootporni cementni tabli d=1.25 sm i tervol d=10 sm. Tablite se postavuvaat na metalni profili koi se upotrebuvaat za izrabotka gipsani yidovi | m2 | 65.527 | h | = | 0 | (4.9*2+4.1+1.89+1.15)*3.05+(4.1+4.9)*2*0.77
4. | Obrabotka strei so cementni tabli d=1.25 sm Tablite se postavuvaat na metalni profili koi se upotrebuvaat za izrabotka gipsani yidovi | m2 | 12.33 | h | = | 0 | (4.1+4.9)*2*0.685
5. | Nabavka materijal i izrabotka ankeri za stolbovi od ~elienata konstrukcija | br. | 16 | h | = | 0
6. | Nabavka materijal, izrabotka i monta`a ~eli~na konstrukcija zaedno so minizirawe | kg | 1100 | h | = | 0
7. | Izrabotka stolbovi so vodootporni cementni tabli i tervol d=10 sm. Tablite se postavuvaat na metalni profili koi se upotrebuvaat za izrabotka gipsani yidovi. Stolbovite slu`at za pricvrstuvawe na izlozite i vleznite vrati | m1 | 9.15 | h | = | 0 | 3*3.05
8. | Pokrivawe krov so termoizolacionen kroven panel d=15 sm vrz ~eli~na konstrukcija | m2 | 20.845 | h | = | 0 | 18.95*1.1
9. | Izrabotka i monta`a skrieni le`e~ki oluci od pocinkuvan lim so r.{. 180 sm. Padot na olukot se postignuva so drvena konstrukcija | m1 | 4.1 | h | = | 0
10. | Izrabotka imonta`a vertikalni oluci | m1 | 3.2 | h | = | 0
11. | Izrabotka spu{ten tavan od gips kartonski plo~i | m2 | 18.95 | h | = | 0
12. | Nabavka i postavuvawe tervol d=5 sm nad spu{teniot tavan | m2 | 18.95 | h | = | 0
13. | Nabavka i postavuvawe podni kerami~ki plo~ki | m2 | 18.95 | h | = | 0
14. | Nabavka i postavuvawe yidni kerami~ki plo~ki | m2 | 14.7 | h | = | 0 | (1.9+1.04)*2*2.5
15. | Molerisuvawe yidovi od cementni tabli so polikolor zaedno so gletovawe | m2 | 69.417 | h | = | 0 | (4.9*2+4.1+1.89+1.15)*3.05+17.75
16. | Zavr{na obrabotka na yidovite od nadvore{na strana so mre`i~ka, lepak i plasti~en maltetr | m2 | 56.667 | h | = | 0 | (4.9*2+4.1+1.89+1.15)*3.05+5
17. | Izrabotka i monta`a prozori, izlozi i vrati od Al. profili |  |  |  |  | 0
| poz 1 90/290 | br. | 1 | h | = | 0
| poz B 280/290 | br. | 1 | h | = | 0
| poz 4 60/60 | br. | 1 | h | = | 0
18. | Nabavka i monta`a vnatre{ni vrati od Aluminiumski profili |  |  |  |  | 0
| poz 3 80/205 | br. | 1 | h | = | 0
0
| za {esnaeset du}ani |  | 16 | h | = | 0
SUPERMARKET
Zemjani raboti
1. | Iskop zemja vo {irok obem - ~istewe na humus vo sloj od 30 sm. zaedno so planirawe na terenot | m3 | 945 | h | = | 0
2. | Iskop zemja vo {irok obem - podzemna gara`a, vlezna rampa i temeli | m3 | 4729.26 | h | = | 0
3. | Iskop zemja vo tesen obem za temelni traki za betonski yidovi za skali i rampi |  |  |  |  | 0
| rampa 1 za invalidi {irina 275 sm | m3 | 58.56 | h | = | 0
| rampa 2 za invalidi {irina 130 sm | m3 | 20.736 | h | = | 0
| rampa 3 za invalidi {irina 215 sm | m3 | 18.648 | h | = | 0
| rampa 4 za invalidi {irina 150 kru`ni | m3 | 15.96 | h | = | 0
| za skali so dol`ina 4,0 m | m3 | 3.2 | h | = | 0
| za skali so dol`ina 2,35 m | m3 | 2.94 | h | = | 0
| za skali so dol`ina 3,0 m | m3 | 2.88 | h | = | 0
| za formirawe trotoar okolu objektot | m3 | 32.64 | h | = | 0
4. | Odvoz na iskopanata zemja vo deponija | m3 | 5829.824 | h | = | 0
5. | Izrabotka nasip od nasipen materijal vo sloj od 15 sm za poravnuvawe na terenot zaedno so nabivawe i planirawe na sloevite pred postavuvaweto na slojot od mr{av beton | m3 | 199.245 | h | = | 0
6. | Izrabotka nasip od nasipen materijal pome¦u temalite i temelnite traki zaedno so nabivawe i planirawe na sloevite | m3 | 845.16 | h | = | 0
7. | Izrabotka nasip od nasipen materijal pome¦u obodot na grade`nata jama i betonskite yidovi zaedno so nabivawe i planirawe na sloevite | m3 | 440.2 | h | = | 0
0
Betonski raboti
1. | Betonirawe AB temelni stopi so beton MB 30 vo oplata | m3 | 46.464 | h | = | 0
2. | Betonirawe AB trakasti temeli pod betonski yidovi so beton MB 30 vo glatka oplata |  |  |  |  | 0
| objekt | m3 | 107.424 | h | = | 0
| rampa za podrum | m3 | 29.28 | h | = | 0
| rampa 1 za invalidi {irina 275 sm | m3 | 10.368 | h | = | 0
| rampa 2 za invalidi {irina 130 sm | m3 | 13.986 | h | = | 0
| rampa 4 za invalidi {irina 150 kru`ni | m3 | 11.97 | h | = | 0
| za skali so dol`ina 4,0 m | m3 | 0.32 | h | = | 0
| za skali so dol`ina 2,35 m | m3 | 0.48 | h | = | 0
| za skali so dol`ina 3,0 m | m3 | 0.384 | h | = | 0
| za formirawe trotoar okolu objektot | m3 | 16.32 | h | = | 0
3. | Betonirawe AB vrzni gredi so beton MB 30 vo glatka oplata | m3 | 34.656 | h | = | 0
4. | Betonirawe stolbovi beton MB 30 vo glatka oplata | m3 | 41.6 | h | = | 0
5. | Betonirawe AB yidovi so beton MB 30 vo glatka oplata |  |  |  |  | 0
| d=25sm podrum | m3 | 73.5 | h | = | 0
| d=25sm rampa - vlez vo gara`a | m3 | 28 | h | = | 0
| d=25sm vnatre{ni skali | m3 | 6.2162 | h | = | 0
| d=20 sm rampa 1 za invalidi {irina 275 sm | m3 | 9.72 | h | = | 0
| d=20 sm rampa 2 za invalidi {irina 130 sm | m3 | 22.2 | h | = | 0
| d=20 sm rampa 3 za invalidi {irina 215 sm | m3 | 1.8 | h | = | 0
| d=20 sm rampa 4 za invalidi {irina 150 kru`ni | m3 | 9.9 | h | = | 0
| d= 20 sm za skali so dol`ina 4,0 m | m3 | 0.22 | h | = | 0
| d=20 sm za skali so dol`ina 2,45 m | m3 | 0.54 | h | = | 0
| d= 20 sm za skali so dol`ina 3,0 m | m3 | 0.384 | h | = | 0
| d=20 sm za formirawe pateki okolu objektot | m3 | 12.24 | h | = | 0
6. | Betonirawe AB gredi so beton MB 30 vo glatka oplata | m3 | 156.48 | h | = | 0
7. | Betonirawe AB me¦ukatni plo~i d=20 sm - most so beton MB 30 vo glatka oplata vlez nad rampa vo podrum | m2 | 18.3 | h | = | 0
8. | Betonirawe AB me¦ukatni plo~i so beton MB 30 vo glatka oplata |  |  |  |  | 0
| d=16 sm | m2 | 786.8 | h | = | 0
| d=20 sm (konzolna plo~a na krov) | m2 | 106.88 | h | = | 0
9. | Betonirawe AB podna plo~a so beton MB 30 so dodatok na hidrofob i superfluid. Plo~ata e so debelina 15 sm. | m2 | 1008 | h | = | 0
10. | Betonirawe betonska plo~a so promenliva debelina za formirawe padovi vrz podnata plo~a | m2 | 1008 | h | = | 0
11. | Betonirawe AB parapetni yidovi d=12 sm na krov vo glatka oplata | m2 | 27.648 | h | = | 0
12. | Betonirawe rampa na teren so beton MB 30 d=15 sm. Betonot e armiran so armaturna mre`a i izbrazden so fugi so {irina 2 sm na 40 sm rastojanie - vlez vo gara`a. | m2 | 112 | h | = | 0
13. | Betonirawe AB skali beton MB 30 | m2 | 15 | h | = | 0
14. | Betonirawe konstruktivni gredi - nadvratnici i nadprozornci na kota +220 i +300 | m3 | 12 | h | = | 0
15. | Betonirawe nadvore{ni skali na teren so beton MB 30 {irina i visina 16 sm |  |  |  |  | 0
| dol`ina 4,0 m | br | 3 | h | = | 0
| dol`ina 2,45 m | br | 5 | h | = | 0
| dol`ina 3,0 m | br | 4 | h | = | 0
16. | Betonirawe AB plo~a na teren so beton MB 30 d= 15 sm Betonot e armiran so armaturna mre`a i izbrazden so fugi so {irina 2 sm na 40 sm rastojanie - rampi za invalidi |  |  |  |  | 0
| rampa 1 {irina 275 sm | m2 | 51 | h | = | 0
| rampa 2 {irina 130 sm | m2 | 35 | h | = | 0
| rampa 3 {irina 215 sm | m2 | 17 | h | = | 0
| rampa 3 {irina 150 sm so kru`na forma | m2 | 24 | h | = | 0
17. | Betonirawe AB plo~a na teren so pe~aten beton MB 30 d= 15 sm Betonot e armiran so armaturna mre`a - pateki okolu objektot | m2 | 431 | h | = | 0
18. | Nabavka i vgraduvawe armatura RA-2 - objekt | kg | 103310.22 | h | = | 0
19. | Nabavka i vgraduvawe mre`asta armatura - objekt | kg | 12431.53 | h | = | 0
20. | Nabavka i vgraduvawe armatura RA-2 - rampi i potporni yidovi | kg | 8577 | h | = | 0
21. | Nabavka i vgraduvawe mre`asta armatura - rampi i potporni yidovi | kg | 469 | h | = | 0
0
Yidarski raboti
1. | Yidawe fasadni yidovi d=25 sm so blok tula so armirano betonski liba`ni sloevi | m3 | 75.304 | h | = | 0
2. | Yidawe pregradni yidovi D=25 sm. so blok tula so armirano betonski liba`ni sloevi | m3 | 38.25 | h | = | 0
3. | Yidawe yidovi D=16 sm. so blok tula so armirano betonski liba`ni sloevi | m2 | 179.335 | h | = | 0
4. | Malterisuvawe yidovi od blok tula, | m2 | 1158.24 | h | = | 0
5. | Obrabotka tavani i gredi so stiropor d=5 sm , lepak i zavr{na obrabotka so gotov malter - tavan vo gara`a | m2 | 1075.2 | h | = | 0
6. | Obrabotka tavani i gredi so premaz od vrska U, lepak i zavr{na obrabotka akrilen premaz | m2 | 377.8 | h | = | 0
7. | Izrabotka fasada so lepak, stiropor d=5 sm ,rabic mre`a i zavr{na obrabotka so akrilni premazi so potrebna skela | m2 | 419.1 | h | = | 0
8. | Obrabotka betonski parapeti i strea so stiropor d=3 sm lepak i zavr{na obrabotka akrilen premaz vo boja | m2 | 307.28 | h | = | 0
9. | Izrabotka betonski ko{ulica so prose~na debelina od 4 sm so stiropor d=3 sm | m2 | 751.7 | h | = | 0
10. | Izrabotka betonski ko{ulica so prose~na debelina od 4 sm | m2 | 191.5 | h | = | 0
11. | Izrabotka cokla so kulir plast so visina 30 sm. | m2 | 87.25 | h | = | 0
12. | Nabavka i postavuvawe PVC cevi za ventilacija | m1 | 6 | h | = | 0
13. | Izrabotka tavan so gipsani tabli zaedno so banda`irawe, gletovawe i farbawe so polikolor | m2 | 759 | h | = | 0
0
Tesarski raboti
1. | Izrabotka krovna konstrukcija od suva gra¦a vrz betonska plo~a horizontalna proekcija | m2 | 1073.6 | h | = | 0
2. | Nabavka i postavuvawe tervol d=15 sm nad krovnata plo~a.Tervolot se postavuva vrz PE folija Vo cenata da se predvidi i PE folijata | m2 | 1073.6 | h | = | 0
0
Krovopokriva~ki raboti
1. | Pokrivawe krov so ramen plastificiran lim zaedno so popatosuvawe so daski i postavuvawe vodonepropusna - paropropusna folija vrz drvena krovna konstrukcija | m2 | 1234.64 | h | = | 0
0
Limarski raboti
1. | Izrabotka i monta`a horizontalni oluci od pocinkovan lim so r.{. 120 sm. Vocenata da se predvidi I izrabotka patos od {tici postaveni na {tafni so koi se definira ladot na olucite | m1 | 84.8 | h | = | 0
2. | Izrabotka i monta`a op{ivka od plastificiran limkako zavr{etok na betonskiot parapet | m1 | 133.6 | h | = | 0
0
Izolaterski raboti
1. | Izrabotka hidroizolacija na podrumski yidovi spored sleden opis
- geotekstil
- hidroizolacija PVC 2 mm
- tefond
| - stiropor 3 sm | m2 | 501 | h | = | 0
2. | Nabavka i postavuvawe vodonepropusna ekspandira~ka lenta na spojot pome¦u temelot i betonskite yidovi | m1 | 133.6 | h | = | 0
3. | Izrabotka hidroizolacija na podna plo~a spored sleden opis |  |  |  |  | 0
| betonska plo~a d=10 sm |  |  |  |  | 0
| geotekstil |  |  |  |  | 0
| hidroizolacija PVC 2 sm |  |  |  |  | 0
| geotekstil |  |  |  |  | 0
| betonska plo~a d=10 sm | m2 | 1028.16 | h | = | 0
4. | Izrabotka hidroizolacija vo toaleti | m2 | 13.56 | h | = | 0
0
Bravarski raboti
1. | Nabavka i postavuvawe prozori, izlozi i vlezni vrati od Al. profili zastakleni so termopan staklo vo se spored {ema na stolarija
| poz.1 566/300 vlezna lizga~ka vrata | br | 1 | h | = | 0
| poz.2 200/300 izlog | br | 4 | h | = | 0
| poz.3 566/300 izlog | br | 1 | h | = | 0
| poz 4 500/220 lizga~ka vrata | br | 1 | h | = | 0
| poz 5 fiksen prozor 500/180 | br | 3 | h | = | 0
| poz 6 izlog 440/400 | br | 1 | h | = | 0
| poz 7 500/220 izlog | br | 1 | h | = | 0
| poz 8 470/180 | br | 1 | h | = | 0
| poz 9 vrata zastaklena 100/220 | br | 1 | h | = | 0
| poz 10 370/220 izlog | br | 1 | h | = | 0
| poz 11 200/220 vrata polna | br | 2 | h | = | 0
| poz 12 470/220 prozorec | br | 1 | h | = | 0
| poz 13 200/220 vrata zastaklena | br | 1 | h | = | 0
| poz 14 470/80 prozorec fiksen | br | 2 | h | = | 0
| poz 15 500/80 prozorec fiksen | br | 2 | h | = | 0
| poz G 560/400 klizna vrata | br | 1 | h | = | 0
2. | Nabavka i postavuvawe polni vnatre{ni vrati od aluminiumski profili |  |  |  |  | 0
| paz A 100/220 | br | 5 | h | = | 0
| poz B 70/220 | br | 6 | h | = | 0
| poz V 200/220 dvokrilna | br | 2 | h | = | 0
3. | Izrabotka i monta`a ogradi na skali od metalni profili zaedno so minizirawe i farbawe so mrsna boja | m1 | 16.34 | h | = | 0
4. | Izrabotka i monta`a rakohfat na skali od metalni profili zaedno so minizirawe i farbawe so mrsna boja | m1 | 5.64 | h | = | 0
5. | Izrabotka i monta`a ogradi so visins N=70 sm od metalni profili zaedno so minizirawe i farbawe so mrsna boja | m1 | 144.2 | h | = | 0
6. | Izrabotka i monta`a ogradi so visins N=100 sm od metalni profili zaedno so minizirawe i farbawe so mrsna boja | m1 | 83.9 | h | = | 0
0
Kerami~arski raboti
1. | Nabavka i postavuvawe podni kerami~ki plo~ki
| proda`en prostor | m2 | 735 | h | = | 0
| vetrobran | m2 | 38 | h | = | 0
| prostorii i sanitarii za vraboteni - prizemje | m2 | 25.5 | h | = | 0
| magacin | m2 | 128 | h | = | 0
| trem | m2 | 23.8 | h | = | 0
| hol podrum | m2 | 46 | h | = | 0
| ostava i tehni~ka soba podrum |  | 28.5 | h | = | 0
2. | Nabavka i postavuvawe yidni kerami~ki plo~ki |  |  |  |  | 0
| magacin | m2 | 96.4 | h | = | 0
| sanitarii | m2 | 106.2 | h | = | 0
0
Podopolaga~ki raboti
1. | Nabavka i postavuvawe pod od laminat komplet so lajsni | m2 | 16.7 | h | = | 0
0
Molerofarbarski raboti
1. | Gletovawe so polifiks i boewe so polikolor yidovi, tavani, vidlivi gredi | m2 | 955.64 | h | = | 0
0
Razni raboti
1. | Obrabotka nadvore{ni skali so pe~aten beton d=3sm {irina 32 sm i ~ela d=2 sm visina 16 sm
| dol`ina 4,0 m | br | 3 | h | = | 0
| dol`ina 2,45 m | br | 5 | h | = | 0
| dol`ina 3,0 m | br | 4 | h | = | 0
2. | Obrabotka vnatre{ni skali so mermer gazi{ta d=3sm {irina 30 sm i ~ela d=2 sm visina 15.8 sm | br. | 19 | h | = | 0
3. | Nabavka i postavuvawe spu{ten tavan Hanter Daglas na tavani vo prizemje | m2 | 14 | h | = | 0
4. | Zavr{na obrabotka na betonskite yidovi so ivi~waci od paver elementi | m1 | 219.5 | h | = | 0
5. | Obrabotka horizontalna dilatacija na spoj pome¦u -vlez vo gara`a | m1 | 12 | h | = | 0
6. | Obrabotka vertikalna dilatacija na spoj pome¦u yidovi - vlez vo gara`a | m1 | 7 | h | = | 0
7. | Obrabotka vidlivata strana od betonskite yidovi so pe~aten beton | m2 | 96 | h | = | 0
0
REKAPITULACIJA
| Zemjani raboti |  | 0
| Betonski raboti |  | 0
| Yidarski raboti |  | 0
| Tesarski raboti |  | 0
| Krovopokriva~ki raboti |  | 0
| Izolaterski raboti |  | 0
| Bravarski raboti |  | 0
| Limarski raboti |  | 0
| Kerami~arski raboti |  | 0
| Podopolaga~ki raboti |  | 0
| Razni raboti |  | 0
| Vkupno |  | 0
II - 1 parkirali{te za Supermarket
1. | Iskop zemja vo {irok obem - ~istewe na humus vo sloj od 30 sm. zaedno so planirawe na terenot | m3 | 331.8 | h | = | 0
2. | Odvoz na iskopanata zemja vo deponia | m3 | 331.8 | h | = | 0
3. | Izrabotka nasip od nasipen materijal zaedno so nabivawe i planirawe na sloevite | m3 | 221.2 | h | = | 0
4. | Izrabotka nasip od tamponski materijal vo sloj od 30 sm. kako zavr{en sloj pred postavuvawe zavr{na betonska podna plo~a Vo cenata se predviduva nabivawe i planirawe na slojot | m3 | 276.5 | h | = | 0
5. | Nabavka i postavuvawe BNS d=8 sm | m2 | 1106 | h | = | 0
6. | Nabavka i postavuvawe sloj za abawe d=5 sm | m2 | 1106 | h | = | 0
7. | Nabavka i postavuvawe ivi~waci 16/24 sm | m1 | 75 | h | = | 0
0
sostavil