# VOLUME 3

# TECHNICAL SPECIFICATIONS

GENERAL REQUIREMENTS

The Technical Specification is an integral part of the Tender Documentation /TD/ together with the provisions of the Contract, the detailed design drawings and the other contract documents. The Specification specifies and further develops the requirements for the implementation of the construction works under the Contract.

1.	STANDARDS

As a minimum the Macedonian standards and codes shall always be satisfied. Other internationally acknowledged standards and codes may be used only if:

- They are more or at least equally stringent compared to the respective Macedonian standards and codes or

- European or/and other technical approvals and standards acceptable for civil construction and similar works.

The materials which are used must correspond to the Macedonian standards and codes.

If the Contractor should wish to supply material or execute work to an alternative national standard or international specification he shall give full details of his proposal in writing to the Supervisor.

2.	CONTROL OF WORKS

The Contracting Authority will appoint a person “еxpert Investment control” who will supervise construction with investment functions, according to Macedonian legislation and other legal acts in construction works. The Contracting Authority and / or “еxpert Investment control” may at any time inspect the work, control technology performance and issue instructions to remove the defects or inappropriate construction/installation, according to the specified technology and method of implementation. If found serious defects, errors and low quality performance, the Contracting Authority shall notify the Contractor that breached the contract and should stop to work. The Contractor shall provide unlimited access to the construction site of the Contracting Authority’s representatives and the Supervisor.

2.1	Contractor's equipment

The Contractor shall furnish equipment which will be efficient and appropriate to secure a satisfactory quality of work and a rate of progress which will insure the completion of the Works within the time stipulated in the Tender/Offer. If at any time such equipment appears to be inefficient, inappropriate or insufficient for securing the quality of work required or for the rate of progress, the Supervisor may be entitled to order the Contractor to increase the efficiency, change the character or hire additional equipment, and the Contractor shall conform to such order.

2.2 Protection of existing structures and utilities

The Contractor shall assume full responsibility for the protection of all buildings, structures and roads existing in the area of the construction site, public or private, whether or not they are shown on the drawings.

The Contractor has to pay special attention to avoid any damages on any protected areas.

Any damage resulting from the Contractor's operations shall be repaired at his expense.

2.3	Safety and security on site

Safety and security arrangement should be performed in accordance with Macedonian Construction Law.

2.4	Handling and storage of materials and plants

All materials and plants to be incorporated in the work shall be handled and stored in a manner, which prevents injury of any kind whatsoever. Any materials or plants which, in the opinion of the Supervisor, have become too damaged to be fit for the use intended or specified shall be promptly removed from the site, and the Contractor shall receive no compensation for the damaged material or its removal.

2.5 No specific provision

Where no specific provision is made in the Bill of Quantities for work of a temporary nature, it shall be considered as covered by the unit prices entered in the Bill of Quantities.

2.6	Approval of sources, materials and plants

Materials incorporated must originate in a Member State of the European Union or a country covered by the Interreg - IPA CBC Programme 2014 – 2020. Material that originates from sources, which are not approved by the Contracting Authority and the Investor control, cannot be used for Works.

Approval of a source does not mean that all material in the source is approved. The Contractor has to ascertain by continuous control check measurements that only material which complies with the requirements specified in the various clauses of these specifications will be used for the Works.

2.7 Clean-up work

The Contractor shall clear way and remove from the site any wreckage, rubbish and temporary works, which are no longer required.

2.8	Responsibility of the Contractor

Approvals from the Supervisor do not relieve the Contractor from his obligations or responsibilities under the Contract.

3.	ADMINISTRATIVE SPEIFICATIONS.

3.1 Progress meetings

The Contractor shall agree with the Supervisor and the Contracting Authority for dates for regular progress meetings. These meetings shall normally be held monthly, no later than 10 working days after the completion of each month.

3.2 Quality assurance

The Contractor shall institute a quality assurance system to demonstrate compliance with the requirements of this contract. The system shall be in accordance with the details stated in the Contract. The Supervisor shall be entitled to audit any aspects of the system.

4.	IMPLEMENTATION OF THE WORKS

4.1	Materials

The Contractor shall use only materials that conform to the technical requirements set forth in the clauses of this Technical Specification.

All Materials and Plant supplied to perform the Permanent Works under the contract shall be new products. Second-hand Materials and Plant will not be accepted.

The Tender drawings constitute the drawings issued for construction/ installation/ execution.

4.2	Testing

Reliable shall be only the type and amount of tests performed in conformity with the prescription of this Technical specification, except when this right is granted to the Contracting Authority.

The Contracting Authority may require additional tests when the results obtained are uncertain.

Beside the tests specified in this Specification, the Contracting Authority may require additional tests to establish possible hidden omissions and effects. Costs for these tests shall be entirely at the Contractor’s expense if such defects are confirmed.

4.3	Inspection and measurement of works

The Contracting Authority may at any time inspect the quality and measure the amount of works performed. If this cannot be done with the Contractor’s assistance, a deadline shall be fixed for hiring external specialists. In this case, the expenses shall be paid by the Contractor.

5.	PREPARATORY WORKS

Before starting the works the Contractor has to perform some preparatory works at the site.

5.1	Boards and signs

The Contractor shall mount and maintain in good condition a board with the name of the project and the co-financing institutions written in a way /text and font size/ conforming to the requirements of the Contract and in compliance with EU visibility guidelines.

5.2 Setting out the site

The Contractor shall in co-operation with the Contracting Authority set out the total site to be used for construction.

5.3 Temporary facilities

The Contractor shall effects all expenditure for establishing, operation and removal of temporary facilities if such are needed for the good performance of the Contract. All needs for establishing such facility shall be duly justified.

5.4 General supply facilities

Sanitary Arrangements

The Contractor shall provide for and maintain temporary sanitary facilities on the site for the use of all persons connected with the Works. The Contractor shall keep the facilities in a clean and sanitary condition, and shall post notices and take such precautions as may be necessary to keep the site clean.

Water supply

The Contractor shall provide for and maintain an adequate supply of potable water for his use. The water supply shall be used for construction purposes and for consumption in the temporary facilities.

Power supply

All electrical power required by the Contractor shall be provided by him at his own expense. The Contractor prior to taking-over of the Works shall remove all temporary installations if it is not agreed upon that the Contracting Authority takes over the installations.

6. ADDITIONAL SPECIFICATIONS

All provisions and clauses from the Macedonian Construction Law, Law on Spatial Planning and other codes that are valid obligate the Contractor.

SPECIFIC REQUIREMENTS

Explanation about the facility and location (details).

- Location

The location provided for the construction is tourist and recreation centre "Dinkut"  located at cadastral parcel no.6382 cadastral municipality Gevgelija, n.n., Moinski Pat Street in Municipality of Gevgelija and it has mildly hilly terrain configuration. This location is quite attractive primarily because of its position, the purpose envisaged by the urban plan and openness for the entire population to the town and settlements. It can be reached through established road for vehicles and built walkway.

Until the established location- Dinkjut passes “Moinski pat” thoroughfare road and the surface coverage is 31 960 m².

2.Content,  structure and description of objects and surfaces

The project covers the following content for entertainment, recreation and sport:

1.Summer cinema

Using the configuration of the terrain, designed a space for installation of benches made of natural materials, arranged in tiers with a targeted view of the panel projections and a capacity of 50 people.

2.Space handled for fitness and gymnastics

Within the site a space is provided for setting appliances for fitness and gymnastics, which enables practicing exercises in nature. The project provideс 6 appliances with the different possibilities.

3. Children's playground with modern equipment

Projected area in form of children's playground with sandy surface, where will be mount the equipment for entertainment of children: trampoline, toboggan and swing-boats defined with the graphic part of the project.

4. Artificial rock climbing

Planned version of AB wall designed in the form of a rock on which will be fixed fitments for climbing.

5. Playground for soccer

Projected grass court measuring 6 x 18metters and installation of playground equipment for soccer.

6. Playground with equipment from natural materials

Projected area in the form of children's playground with sandy surface, where will be mount the appliances and accessories made of natural materials: house for children, handle the ropes, swings, etc., described in detail in graphic drawings.

7. Trim trail

Trim trail is projected equipped with requisites for running and exercise intended for the elder age group of visitors, fully made from natural materials.

The project envisages installation of urban equipment: candelabras, benches, trash cans, information boards and fountains.

The following paths are defined and their integration lengths:

path 1 		l=337.87 m

path 2 		l =517.53 m

path 3 		l =85.11 m

path 4 		l =74.84 m

path 5 		l =66.36 m

For paths with indications: 1,2,3 and 4 it is projected improvement through print concrete and the track labeled 5 retains the natural appearance and materialization, and is supplemented by urban equipment.

It is envisaged setting up three gazebos with tables and benches made entirely of natural materials, embedded in the configuration of the terrain.

It is projected a reconstruction of a technical room at the entrance of the site, which will serve for storage of equipment and control of the site.

With these new contents, the site should increase attendance from locals but also tourists from outside the municipality and its implementation contributes to nursing the sport and recreational spirit of locals.

Закон за градење („Службен весник на Република Македонија“ број 130/09, 124/10, 18/11, 36/11, 54/11, 13/12, 144/12, 25/13 и 79/13)