VOLUME 4.3

FINANCIAL OFFER TEMPLATES

UNIT PRICE CONTRACTS

Content

4.3.1 — Introduction

4.3.2 — Bill of Quantities

4.3.3 — Price Schedule

4.3.4 — Daily works Schedule

4.3.5 — Detailed Breakdown of Prices

VOLUME 4.3.1 — INTRODUCTION

1. 	General

1.1	The Bill of Quantities (Volume 4.3.2) is the document containing an itemised breakdown of the works to be carried out in a unit price contract, indicating a quantity for each item and the corresponding unit price. The quantities set out in the Bill of Quantities are estimated quantities. Each price for each item of the Bill of Quantities is detailed in the Price Schedule (Volume 4.3.3).

The amounts due will be calculated by measuring the actual quantities of the works executed and by applying the unit rates to the quantities actually executed for each item.

1.2	The Detailed Breakdown of Prices (Volume 4.3.5) is the list containing the basic costs, net costs and mark-ups from which each price on the Bill of Quantities and the Price Schedule and on the Daywork Schedule results.

The Detailed Breakdown of Prices provides the coefficients for applying the price revision formula referred to in Article 48.2 of the Special Conditions and can provide the basis for valuation of additional work ordered referred to in article 37.5 of the General Conditions.

1.3	Provisional sums for use when works are to be executed on a daily work basis (Volume 4.3.4) can only be executed by administrative order of the Supervisor in accordance with the terms of the Contract.

2.	Specific to Volumes 4.3.2, 4.3.3 and 4.3.4

2.1	The prices inserted in the Bill of Quantities and Price Schedule are to be the full inclusive values of the works described under the items, including all costs and expenses that may be required in and for the construction of the works described, together with any temporary works and installations which may be necessary and all general risks, liabilities and obligations specified or implied in the documents on which the tender is based. It will be assumed that establishment charges, profit and allowances for all obligations are spread evenly over all unit rates.

2.2	Save where the technical specifications or the Bill of Quantities and the Price Schedule specifically and expressly state otherwise, only permanent works are to be measured.

2.3	No allowance will be made for loss of materials or volume thereof during transport or compaction.

2.4	The prices do not include taxes and fiscal duties, as exoneration is explicitly given for the contract. Non-exonerated taxes and fiscal duties are covered in the prices of the Bill of Quantities, Price Schedule and Daily work Schedule, apart from those stated separately in the financial offer templates.

2.5	The Unit prices in Volumes 4.3.2 and 4.3.4 are obtained by multiplying the Net cost of Volume 4.3.5 - Table D, on the one hand, with the coefficient K, on the other hand.

The coefficient K represents the proportions between the Site costs (Fc) of Volume 4.3.5 - Table E and the Total net costs (Ps) and between the General costs (Fg) of Volume 4.3.5 - Table F and the Contract price (Pv): K = (1+A)/(1-B) whereby

A= Fc/Ps

B =Fg/Pv

2.5	The units of measurement used in the annexed technical documentation are those of the International System of Units (SI). No other units may be used for measurements, pricing, detail drawings etc. (Any units not mentioned in the technical documentation must also be expressed in terms of the SI.) Abbreviations used in the bill of quantities are to be interpreted as follows:

mm	means	millimetre

m	means	metre

mm²	means	square millimetre

m²	means	square metre

m³	means	cubic metre

kg	means	kilogram

to	means	tonne (1000 kg)

pcs	means	pieces

h	means	hour

L.s.	means	Lump sum

km	means	kilometre

l	means	litre

%	means	per cent

N.d	means	nominal diameter

m/m	means 	man-month

m/d	means 	man-day

VOLUME 4.3.2 — BILL OF QUANTITIES

| PRICE No | TITLE | UNIT | UNIT PRICE | ESTIMATED QUANTITIES | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| (a) | (b) | (c) | (d) | (e) | (f = d * e) |
| 1. | ARCHITECTURE AND CONSTRUCTION Ground works - Excavation of soil in wide size - layer of 30 cm along with planning of the field - Walkways - Excavation of soil in wide size - layer of 30cm along with planning of the field - Playgrounds - Excavation of soil in wide size - layer of 30cm along with planning of the field - Summer cinema and area for fitness and gymnastics - Excavation of soil narrow in size for foundation tracks and footing -foundation tracks for gazebos -foundation footing for playthings (playground with playthings from natural materials, small amusement park with modern equipment, rock climbing) -foundation footing for equipment for fitness trail -foundation footing for informative boards -foundation footing for benches -foundation footing for litter bins -foundation footing for lamps -foundation lanes for concrete socle around a playground, an amusement park, a wall for rock climbing,a playground for futsal, an area for fitness and gymnastics 1.5 Transport of escavated soil at dumping ground 1.6 Construction of a layer (planning, alignment and denting of the field) - Walkways 1.7 Construction of a layer (planning, alignment and denting of the field) - Summer cinema and area for fitness and gymnastics 1.8 Construction of a layer (planning, alignment and denting of the field) - Playgrounds 1.9 Construction of a dam from tampon material in a layer of 20 sm. As final layer before setting a path with final processing with concrete tiles and printed concrete. In the price are included the planning and pressing of the layer 1.10 Construction of a dam from fill in material in a layer of 20 sm. For finalization pressed base before placing geotextile and layer of white rocky of 10-50 mm in the summer cinema and the area for fitness and gymnastics. 1.11 Construction of a dam with fill in material in a layer of 20 sm. for finalization pressed base before placement of geotextile and sand layer in the playground for playthings from natural materials, an amusement park with modern equipment, artificial rock for climbing. 1.12 Supply, transport and installment of geotextile placed between pressed land and final layer of white rocky 10-50 mm in the summer cinema and the area for fitness and gymnastics and sand in the playground, the small amusement park and area for artificial rock 1.13 Construction of a base in summer cinema from white rocky 10-50 mm as a fill in the interspace in the summer cinema and the area for fitness and gymnastics. 1.14 Construction of sand base in a playground, amusement park and area for artificial rock. | m³ m³ m³ m³ m³ m³ m³ m³ m³ m³ m³ m³ m² m² m² m³ m³ m³ m³ m³ m³ |  | 753,60 134,70 78,00 3,17 13,60 5,60 2,44 2,00 2,00 8,00 25,44 753,00 2512,00 260,00 449,00 436,00 48,00 75,40 652,00 51,00 75,40 |  |
|  |  |  |  | Total |  |
| 2 | Concrete works 2.1. Boarding and concreting of foundation tracks that are part of foundation construction for gazebo with concrete MB 30 2.2 Boarding and concreting AB wall and foundation track, designed like an artificial rock for climbing 2.3. Supply and installment of reinforcement Q-335 – market 2.4. Boarding and concreting of concrete socle around a playground, amusement park, wall for rock climbing, playground for football, area for fitness and gymnastics (dimensions of foundation track 0.3h0.3m, dimension of socle wall 0.15h0.3m), L=318m 2.5. Concreting foundation footing with MB 30: -foundation footing for playthings (playground with playthings from natural materials, small amusement park with modern equipment, a wall for rock climbing) -foundation footing for equipment for trim path '-foundation footing for informative boards '-foundation footing for benches '-foundation footing for litter bins 2.6. Concreting of AB paths with floor panels D min=12 sm with final elaboration by monolit final layer 3-5 mm like a printed concrete with an imitation of rocks finally treated with all necessary coatings. The concrete is made in fields not bigger than 30 m2 with clear fugue between the fields. The floor plate is made with falls to enable undisturbed watering. 2.7. Supply and installation of reinforcement RA-2 – market 2.8 Supply and instalment of net reinforcement – market 2.9 Moulding, transport and built-in of a platform for tap for drinking water (according to given drawings) | m³ m³ kg m³ m³ m³ m³ m³ m³ m² Kg Kg Num. |  | 3,20 10,96 416,59 42,93 13,60 5,60 2,44 2,00 2,00 2178,00 1249,00 12646,00 2,00 |  |
|  |  |  |  | Total |  |
| 3 | Carpentry works 3.1 Supply, transport of timber and wooden construction of gazebo from wooden beams with round dimension of F12 fixed by steel construction for concrete foundation, height of the pile - 220 sm and joint beam with dimension 12/12 sm, decorative "H" elements and partial closing of the angles like a barrier (according to graphic display) 3.2 Supply, transport of timber and construction of a roof on a gazebo according to given drawings (finished with grating and coated for protection), covered with green shingle 3.3 Supply, transport of timber and construction of roof on the subsidiary building according to given drawings (finished with grating and coated for protection) and covering with tiles placed upon laths in two ways and sills that are d=2,4 sm thick 3.4 Construction of wooden table and benches made by beech (according to given drawings), finished with grating and coated for protection, situated in each of the gazebos 3.5. Summer cinema - Construction of wooden benches made by beech (according to given drawings), finished with grating and coated for protection, situated as a small amphitheatre 3.6 Playground with equipment from natural materials -Open wooden house for children (according to given drawings) -Double wooden swing like a horse (according to given drawings) '-Double, wooden, classical swing (according to given drawings) -Wooden lever swing (according given drowings) '-Wooden element for climbing (according to given drawings) '-Construction from ropes (according to given drawings) 3.7. Equipment for trim path '-Element from wooden logs (according to given drawings) '-A bridge from wooden beams connected by steel sinxir (according to given drawings) '-"Z" beam for moving (according to given drawings) '-straight beam for walking (according to given drawings) '-wooden device for stretching (according to given drawings) 3.8. Carpentry in subsidiary building that needs reconstruction '-window (wooden hands and termopan glass d=6mm) 90/140 '-wooden door 90/120 | Num. m² m² Num. Num. Num. Num. Num. Num. Num. Num. Num. Num. Num. Num. Num. Num. Num. |  | 3,00 60,00 29,00 3,00 18,00 1,00 1,00 1,00 2,00 1,00 1,00 2,00 1,00 1,00 2,00 1,00 2,00 1,00 |  |
|  |  |  |  | Total: |  |
| 4 | Locksmith works 4.1 Supply, transport and installment of litter bins made by beech beams placed on a metal construction (the beams and the metal construction are finished with grating and coated for protection) 4.2. Supply, transport and construction of benches for seating made by wooden beams from beech placed on a metal construction (the beams and the metal construction are finished with grating and coated for protection) 4.3 Supply, transport of materials and construction of informative board 2.6 m2 at the entrance made by white waterproof plywood built-in a frame made by kutiest metal 60/50 mm with thickness of wall d=3 mm placed on seven wooden piles of 10/15 sm. and height of 70 to 290sm. (the piles and the metal frame are finished with grating and coated for protection) 4.4.Supply and transport of materials and construction of informative board 120/200 sm at the entrance from waterproof whiteplywood built-in a frame made from kutiest metal 60/50 mm thickness of wall d=3 mm placed on seven wooden piles of 10/15 sm. and height of 220sm. (the piles and the metal frame are finished with grating and coated for protection) 4.5.Supply, and transport of materials and construction of board for projection of movies with surface of 8m2 made by waterproof white plywood built-in a frame made from metal 60/50 mm d=3 mm thickness of wall placed on wooden piles and beam (25/15 sm). and joint elements from steel 0.5mm. (according to given drawings). (the piles and the metal frame are finished with grating and coated for protection) 4.6. Supply, transport of materials and construction of lamps (according to given drawings) | Num. Num. Num. Num. Num. Num. |  | 26,00 11,00 1,00 1,00 1,00 32,00 |  |
|  |  |  |  | Total |  |
| 5 | Plastering works 5.1. Inner and external plastering of the walls with plaster 1:3:9 5.2. Whitewash of the inner areas of the walls 5.3 Painting of the outside areas of the walls | m² m² m² |  | 77,44 38,72 38,72 |  |
|  |  |  |  | Total |  |
| 6 | Other things 6.1.Supply, transport and installment of modern equipment for amusement park for children -trampoline -toboggan -lever swing -swing fixed on a spring -classical double swing 6.2. Supply, transport and installment of equipment for fitness and gymnastics -devices for exercising from a well-known manufacturer 6.3 Supply and placement of rail for parking bikes 6.4 Goals for futsal | Num. Num. Num. Num. Num. Num. Num. Num. |  | 1,00 1,00 2,00 1,00 2,00 6,00 2,00 2,00 |  |
|  |  |  |  | Total |  |
|  |  |  |  | Total ARCHITECTURE AND CONSTRUCTION |  |
| 7 | WATERWORKS AND SANITATION Previous works Geodetics marking of the track with coordinates and apsolute elevation" | m |  | 347,00 |  |
|  |  |  |  | Total |  |
| 8 | Soil works 8.1.Mechanical digging of trench 3,4 and 5th category (50%,30%,20%) with manual digging to the bottom 8.2.Supply and manual built-in of separative sand d=10см at the bottom of the trench 8.3.Manual filling in of trench with soil by pressing to 20см above the top of the pipe 8.4.Mechanical placement of soil in the trench with mechanical pressing in layers from 20:30см 8.5.Loadin and transport of soil from the place of digging to the dumping л=1,0км | m³ m³ m³ m³ m³ |  | 208,20 20,82 62,46 104,10 41,64 |  |
|  |  |  |  | Total |  |
| 9 | Installation things 9.1.Supply and installation of water pipes from polyvinyl chloride with cap parts and screws with diameter: NP-6bars D=11 NP-6bars D=63 NP-6bars D=40 NP-6bars D=20 9.2 Supply and installation of: Oval closers Ф50 NP-6bars Joint pieces with cast iron SP 50/400 Reduction with brims from cast iron RP 100/50 Water meter DN 50 NP 10bars Above ground fire hydrant DN 80 Underground groove DN 80 with built-in set Sprayer from ½ Taps for drinking water | m m m m num. num. num. num. num. num. num. num. |  | 207,00 30,00 110,00 50,00 2,00 2,00 1,00 1,00 2,00 2,00 40,00 2,00 |  |
|  |  |  |  | Total |  |
| 10 | Concrete and reinforced concrete things 10.1 Construction of AB water meter pit complete with a lid Grey G=80kgr. F520 and concrete MB-30 with dimensions 120/180/140 см 10.2 Construction of anchoring blocks of piping on parts of horizontal fractures from MB-30 | Num. m³ |  | 1,00 1,00 |  |
|  |  |  |  | Total |  |
|  |  |  |  | Total PHASE WATERWORKS AND SANITATION |  |
| 11. | ELECTRICS Electric connection and energetics 11.1 Electric energetic socket, completely with a request, submitted technical documentation and issued decision by EVN 11.2 Supply, transport and delivery, with placing in previously made trench of water supply cable type PP00‐Y(NYY) 5h10mm2, from new МРО (GMRT) box placed by EVN to GRT placed in the technical area. | Num. Num. |  | 1,00 17,00 |  |
|  |  |  |  | Total |  |
| 12 | Boxes 12.1 Supply, transport and delivery, with installation of metal box GRT with dimensions min(500х600х200мм), fixed on a wall in the technical room, with a lock, DD, from double pickled sheet, and free area of 30%, with the following elements: -ВС clamps 16(4,2.5)мм2 -АС switch 63А -time relay - timer lap -photo-relay with photo drill -contactor 10А -automatic fuses 32A 1P -automatic fuses 6‐25A 1P -tripole automatic fuse 16А 3P - Copper rail for connections (1P/3P). -small screw and unspecified material. -electric installation works 12.2 Supply, transport and delivery, with installation of metal box РТ‐Х (1‐3)with dimensions min(400х400х200мм), fixed on previously made concrete foundation, with a lock, DD, from double pickled sheet, for outdoor conditions, IP65, with the following elements: -VS clamps 16мм2 -RCD switch 40/0.3А 4P -automatic fuses 16A 1P -tripole automatic fuse 16А 3P -Schuko socket with cover ‐ monophase 16А -triphase socket with cover ‐ 16А -copper connection rail (1P/3P). -small screw and unspecified material -electric installation works | num. num. num. num. num. num. num. num. num. num. pau num. num. num. num. num. num. num. num. num. pau num. |  | 1,00 30,00 1,00 1,00 1,00 3,00 15,00 20,00 1,00 1,00 1,00 1,00 3,00 4,00 1,00 3,00 1,00 3,00 1,00 1,00 1,00 1,00 |  |
|  |  |  |  | Total |  |
| 13. | Grounding and construction works 13.1 Digging a trench with 0,4х0,8м for water supply cable, by a machine, in soil from category III or IV and filling it up to return it in the initial condition. 13.2 Digging a trench with 0,4х0,6м dimensions for placing a cable for the lamps, manually or by a machine, in soil from category III or IV and filling up to return it in the initial condition 3.2. 13.3 Construction of concrete fundamentals (600х600х800мм) for the lamps, completely with digging, moulding, anchoring, leveling, concreting, setting of PVC pipe Ф110мм for dragging the cables, with 3.3 final works | m m num |  | 8,00 870,00 33,00 |  |
|  |  |  |  | Total |  |
| 14 | Grounding 14.1 Supply, transport and delivery, and setting of zink lace FeZn 25x5mm in previously hollowed trench, for performing protective grounding for the boxes and lamps 14.2 Connection of the zink lace with the boxes by yellow-green conduit P/F 1x10mm2, protective grounding 14.3 Connection for zink lace with the lamps 14.4 Supply, transport and delivery, with installation of cross joint 60х60мм | Kg Num Num num |  | 750,00 4,00 33,00 50.00 |  |
|  |  |  |  | Total |  |
| 15 | Technical room (electric installation) For all items the set of supply, transport and installation is valid 15.1 Schuko jack 230V 16A 15.2Triphase socket 380V 16A 15.3 power switcher serial 230V 10A 15.4 schuko socket with cover ‐ monophasic 16А 15.5Outdoor light (façade) 15.6 Indoor light (ceiling) 15.7 Computer connector 15.8 Surveillance system, with 2 outdoor cameras, DVR, adapters, transformer and other materials, a set with functional examination and training of the personnel 15.9 Controlling system of the access in the area, with all elements and functional examination 15.10 Communication box for external connection from external provider. 15.11 Electric connection of machine installations (watering system, air-conditioning and so on) 15.12 Electric installation works (technical room) 15.13 dose, plaster, PVC hose, small screw material | num. num. num. num. num. num. num. num. num. num. num. num. num. |  | 6,00 1,00 2,00 1,00 2,00 4,00 1,00 1,00 1,00 1,00 2,00 1,00 1,00 |  |
|  |  |  |  | Total |  |
| 16 | Cables For all items the set of supply, transport and installation is valid 16.1 PP‐Y 3x1,5mm2 16.2 PP‐Y 3x2,5mm2 16.3 PP‐Y 5x2,5mm2 16.4 PP00‐Y (NYY) 4x4mm2 16.5 PP00‐AY (NAYY) 4x16mm2 16.6 SFTP 4x2x0.25AWG cat5 | m m m m m m |  | 165,00 50,00 15,00 1.057,00 485,00 20,00 |  |
|  |  |  |  | Total |  |
| 17 | Outdoor illumination 17.1 Supply, transport and delivery, and installation of metal lamp post 4m (for lamp) outdoor illumination 17.2 Supply, transport and delivery of anchor plate for the metal lamp post 17.3 Supply, transport and installation of holder for the metal lamp post, on which the LED light is installed 17.4 Supply, transport and installation of LED light as type Atra 40W 17.5 Electric installation works (lamps) | Num Num. Num Num num |  | 33,00 33,00 33,00 33,00 33,00 |  |
|  |  |  |  | Total |  |
| 18 | Miscellaneous 18.1 Attests for measured values of protective grounding, with issuing confirmations from the results 18.2 Project of the condition of performance 18.3 Unforeseen things from Items 1-7 to 5% that in amount can be performed under the order of the supervisory engineer | Num Num % |  | 6,00 1,00 5,00 |  |
|  |  |  |  | Total |  |
|  |  |  |  | Total ELECTRICITY PHASE |  |
| Total amount of the works, outside dayworks |  |  |  |  |  |
| Dayworks |  |  |  |  |  |
| Total |  |  |  |  |  |

Note: the numbering of prices under (a) and titles under (b) correspond to the numbering in the Price Schedule

VOLUME 4.3.3 — PRICE SCHEDULE

| PRICE No 1 Title: ARCHITECTURE AND CONSTRUCTION Ground works |  |
| --- | --- |
| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 1.1 excavation of soil in wide size - layer of 30 cm along with planning of the field- Walkways This price is for excavation of soil in wide size - layer of 30 cm along with planning of the field- Walkways This price is for 753,60 m3 |  |
| PRICE No.1.1— TITLE: ARCHITECTURE AND CONSTRUCTION Ground works |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. - Excavation of soil in wide size - layer of 30cm along with planning of the field - Playgrounds This price is for Excavation of soil in wide size - layer of 30cm along with planning of the field - Playgrounds This price is for 134,70 m3 |  |
| --- | --- |
| PRICE No.1.2. — TITLE: ARCHITECTURE AND CONSTRUCTION Ground works |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 1.3 Excavation of soil in wide size - layer of 30cm along with planning of the field - Summer cinema and area for fitness and gymnastics This price is for E Excavation of soil in wide size - layer of 30cm along with planning of the field - Summer cinema and area for fitness and gymnastics This price is for 78,00 m3 |  |
| --- | --- |
| PRICE No.1.3. — TITLE: ARCHITECTURE AND CONSTRUCTION Ground works |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. - Excavation of soil narrow in size for foundation tracks and footing -foundation tracks for gazebos -foundation footing for playthings (playground with playthings from natural materials, small amusement park with modern equipment, rock climbing) -foundation footing for equipment for fitness trail -foundation footing for informative boards -foundation footing for benches -foundation footing for litter bins -foundation footing for lamps -foundation lanes for concrete socle around a playground, an amusement park, a wall for rock climbing,a playground for futsal, an area for fitness and gymnastics This price is for Excavation of soil narrow in size for foundation tracks and footing -foundation tracks for gazebos – 3,17 m³ -foundation footing for playthings (playground with playthings from natural materials, small amusement park with modern equipment, rock climbing) – 13,60 m³ -foundation footing for equipment for fitness trail - 5,60 m³ -foundation footing for informative boards – 2,44 m³ -foundation footing for benches- 2,00 m³ -foundation footing for litter bins- 2,00 m³ -foundation footing for lamps- 8,00 m³ -foundation lanes for concrete socle around a playground, an amusement park, a wall for rock climbing,a playground for futsal, an area for fitness and gymnastics-25,44 m³ |  |
| --- | --- |
| PRICE No.1.4. — TITLE: ARCHITECTURE AND CONSTRUCTION Ground works |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. - Transport of escavated soil at dumping ground This price is for transport of escavated soil at dumping ground This price is for 753,00 m3 |  |
| --- | --- |
| PRICE No.1.5. — TITLE: ARCHITECTURE AND CONSTRUCTION Ground works |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. - Construction of a layer (planning, alignment and denting of the field) - Walkways This price is for Construction of a layer (planning, alignment and denting of the field) - Walkways This price is for 2512,00 m2 |  |
| --- | --- |
| PRICE No.1.6 — TITLE: ARCHITECTURE AND CONSTRUCTION Ground works |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 1.7. Construction of a layer (planning, alignment and denting of the field) - Summer cinema and area for fitness and gymnastics This price is for Construction of a layer (planning, alignment and denting of the field) - Summer cinema and area for fitness and gymnastics This price is for 260,00 m2 |  |
| --- | --- |
| PRICE No.1.7 — TITLE: ARCHITECTURE AND CONSTRUCTION Ground works |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. - Construction of a layer (planning, alignment and denting of the field) - Playgrounds This price is for Construction of a layer (planning, alignment and denting of the field) - Playgrounds This price is for 449,00 m2 |  |
| --- | --- |
| PRICE No.1.8 — TITLE: ARCHITECTURE AND CONSTRUCTION Ground works |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 1.9. Construction of a dam from tampon material in a layer of 20 sm. As final layer before setting a path with final processing with concrete tiles and printed concrete. In the price are included the planning and pressing of the layer This price is for Construction of a dam from tampon material in a layer of 20 sm. As final layer before setting a path with final processing with concrete tiles and printed concrete. In the price are included the planning and pressing of the layer This price is for 436,00 m³ |  |
| --- | --- |
| PRICE No.1.9 — TITLE: ARCHITECTURE AND CONSTRUCTION Ground works |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 1.10. Construction of a dam from fill in material in a layer of 20 sm. For finalization pressed base before placing geotextile and layer of white rocky of 10-50 mm in the summer cinema and the area for fitness and gymnastics. This price is for Construction of a dam from fill in material in a layer of 20 sm. For finalization pressed base before placing geotextile and layer of white rocky of 10-50 mm in the summer cinema and the area for fitness and gymnastics. This price is for 48,00 m³ |  |
| --- | --- |
| PRICE No.1.10 — TITLE: ARCHITECTURE AND CONSTRUCTION Ground works |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 1.11. Construction of a dam with fill in material in a layer of 20 sm. for finalization pressed base before placement of geotextile and sand layer in the playground for playthings from natural materials, an amusement park with modern equipment, artificial rock for climbing. This price is for Construction of a dam with fill in material in a layer of 20 sm. for finalization pressed base before placement of geotextile and sand layer in the playground for playthings from natural materials, an amusement park with modern equipment, artificial rock for climbing. This price is for 75,40 m³ |  |
| --- | --- |
| PRICE No.1.11 — TITLE: ARCHITECTURE AND CONSTRUCTION Ground works |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 1.12. Supply, transport and installment of geotextile placed between pressed land and final layer of white rocky 10-50 mm in the summer cinema and the area for fitness and gymnastics and sand in the playground, the small amusement park and area for artificial rock This price is for Supply, transport and installment of geotextile placed between pressed land and final layer of white rocky 10-50 mm in the summer cinema and the area for fitness and gymnastics and sand in the playground, the small amusement park and area for artificial rock This price is for 652,00 m² |  |
| --- | --- |
| PRICE No.1.12 — TITLE: ARCHITECTURE AND CONSTRUCTION Ground works |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 1.13. Construction of a base in summer cinema from white rocky 10-50 mm as a fill in the interspace in the summer cinema and the area for fitness and gymnastics. This price is for Construction of a base in summer cinema from white rocky 10-50 mm as a fill in the interspace in the summer cinema and the area for fitness and gymnastics. This price is for 51,00 m³ |  |
| --- | --- |
| PRICE No.1.13 — TITLE: ARCHITECTURE AND CONSTRUCTION Ground works |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 1.14. Construction of sand base in a playground, amusement park and area for artificial rock. This price is for Construction of sand base in a playground, amusement park and area for artificial rock This price is for 75,40 m³ |  |
| --- | --- |
| PRICE No.1.14 — TITLE: ARCHITECTURE AND CONSTRUCTION Ground works |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 2.1. Boarding and concreting of foundation tracks that are part of foundation construction for gazebo with concrete MB 30 This price is for Boarding and concreting of foundation tracks that are part of foundation construction for gazebo with concrete MB 30 This price is for 3,20 m³ |  |
| --- | --- |
| PRICE No.2.1 — TITLE: ARCHITECTURE AND CONSTRUCTION Concrete works |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 2.2 Boarding and concreting AB wall and foundation track, designed like an artificial rock for climbing This price is for Boarding and concreting AB wall and foundation track, designed like an artificial rock for climbing This price is for 10,96 m³ |  |
| --- | --- |
| PRICE No.2.2— TITLE: ARCHITECTURE AND CONSTRUCTION Concrete works |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 2.3. Supply and installment of reinforcement Q-335 – market This price is for Supply and installment of reinforcement Q-335 – market This price is for 416,59 kg |  |
| --- | --- |
| PRICE No.2.3— TITLE: ARCHITECTURE AND CONSTRUCTION Concrete works |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 2.4. Boarding and concreting of concrete socle around a playground, amusement park, wall for rock climbing, playground for football, area for fitness and gymnastics (dimensions of foundation track 0.3h0.3m, dimension of socle wall 0.15h0.3m), L=318m This price is for Boarding and concreting of concrete socle around a playground, amusement park, wall for rock climbing, playground for football, area for fitness and gymnastics (dimensions of foundation track 0.3h0.3m, dimension of socle wall 0.15h0.3m), L=318m This price is for 42,93 m³ |  |
| --- | --- |
| PRICE No.2.4— TITLE: ARCHITECTURE AND CONSTRUCTION Concrete works |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 2.5. Concreting foundation footing with MB 30: -foundation footing for playthings (playground with playthings from natural materials, small amusement park with modern equipment, a wall for rock climbing) -foundation footing for equipment for trim path '-foundation footing for informative boards '-foundation footing for benches '-foundation footing for litter bins This price is for Concreting foundation footing with MB 30: -foundation footing for playthings (playground with playthings from natural materials, small amusement park with modern equipment, a wall for rock climbing) -13,60 m³ -foundation footing for equipment for trim path- 5,60 m³ '-foundation footing for informative boards-2,44 m³ '-foundation footing for benches- 2,00 m³ '-foundation footing for litter bins-2,00 m³ |  |
| --- | --- |
| PRICE No.2.5— TITLE: ARCHITECTURE AND CONSTRUCTION Concrete works |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 2.6. Concreting of AB paths with floor panels D min=12 sm with final elaboration by monolit final layer 3-5 mm like a printed concrete with an imitation of rocks finally treated with all necessary coatings. The concrete is made in fields not bigger than 30 m2 with clear fugue between the fields. The floor plate is made with falls to enable undisturbed watering. This price is for Concreting of AB paths with floor panels D min=12 sm with final elaboration by monolit final layer 3-5 mm like a printed concrete with an imitation of rocks finally treated with all necessary coatings. The concrete is made in fields not bigger than 30 m2 with clear fugue between the fields. The floor plate is made with falls to enable undisturbed watering. This price is for 2178,00 m² |  |
| --- | --- |
| PRICE No.2.6— TITLE: ARCHITECTURE AND CONSTRUCTION Concrete works |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 2.7. Supply and installation of reinforcement RA-2 – market This price is for Supply and installation of reinforcement RA-2 – market This price is for 1249,00 kg |  |
| --- | --- |
| PRICE No.2.7— TITLE: ARCHITECTURE AND CONSTRUCTION Concrete works |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 2.8 Supply and instalment of net reinforcement – market This price is for 2.8 Supply and instalment of net reinforcement – market This price is for 12646,00 kg |  |
| --- | --- |
| PRICE No.2.8— TITLE: ARCHITECTURE AND CONSTRUCTION Concrete works |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 2.9 Moulding, transport and built-in of a platform for tap for drinking water (according to given drawings) This price is for Moulding, transport and built-in of a platform for tap for drinking water (according to given drawings) This price is for 2 num. |  |
| --- | --- |
| PRICE No.2.9— TITLE: ARCHITECTURE AND CONSTRUCTION Concrete works |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 3.1 Supply, transport of timber and wooden construction of gazebo from wooden beams with round dimension of F12 fixed by steel construction for concrete foundation, height of the pile - 220 sm and joint beam with dimension 12/12 sm, decorative "H" elements and partial closing of the angles like a barrier (according to graphic display) This price is for 3.1 Supply, transport of timber and wooden construction of gazebo from wooden beams with round dimension of F12 fixed by steel construction for concrete foundation, height of the pile - 220 sm and joint beam with dimension 12/12 sm, decorative "H" elements and partial closing of the angles like a barrier (according to graphic display) This price is for 3 num. |  |
| --- | --- |
| PRICE No.3.1— TITLE: ARCHITECTURE AND CONSTRUCTION Carpentry works |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 3.2 Supply, transport of timber and construction of a roof on a gazebo according to given drawings (finished with grating and coated for protection), covered with green shingle This price is for Supply, transport of timber and construction of a roof on a gazebo according to given drawings (finished with grating and coated for protection), covered with green shingle This price is for 60,00 m² |  |
| --- | --- |
| PRICE No.3.2— TITLE: ARCHITECTURE AND CONSTRUCTION Carpentry works |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 3.3 Supply, transport of timber and construction of roof on the subsidiary building according to given drawings (finished with grating and coated for protection) and covering with tiles placed upon laths in two ways and sills that are d=2,4 sm thick This price is for Supply, transport of timber and construction of roof on the subsidiary building according to given drawings (finished with grating and coated for protection) and covering with tiles placed upon laths in two ways and sills that are d=2,4 sm thick This price is for 29,00 m² |  |
| --- | --- |
| PRICE No.3.3— TITLE: ARCHITECTURE AND CONSTRUCTION Carpentry works |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 3.4 Construction of wooden table and benches made by beech (according to given drawings), finished with grating and coated for protection, situated in each of the gazebos This price is for Construction of wooden table and benches made by beech (according to given drawings), finished with grating and coated for protection, situated in each of the gazebos This price is for 3 num |  |
| --- | --- |
| PRICE No.3.4— TITLE: ARCHITECTURE AND CONSTRUCTION Carpentry works |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 3.5. Summer cinema - Construction of wooden benches made by beech (according to given drawings), finished with grating and coated for protection, situated as a small amphitheatre This price is for3.5. Summer cinema - Construction of wooden benches made by beech (according to given drawings), finished with grating and coated for protection, situated as a small amphitheatre This price is for 18 num |  |
| --- | --- |
| PRICE No.3.5— TITLE: ARCHITECTURE AND CONSTRUCTION Carpentry works |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 3.6 Playground with equipment from natural materials -Open wooden house for children (according to given drawings) -Double wooden swing like a horse (according to given drawings '-Double, wooden, classical swing (according to given drawings) -Wooden lever swing (according given drowings). '-Wooden element for climbing (according to given drawings) '-Construction from ropes (according to given drawings) This price is for Playground with equipment from natural materials -Open wooden house for children (according to given drawings) – 1num. -Double wooden swing like a horse (according to given drawings)- 1num. '-Double, wooden, classical swing (according to given drawings) - 1num. -Wooden lever swing (according given drowings) - 2num. '-Wooden element for climbing (according to given drawings) - 1num. '-Construction from ropes (according to given drawings) - 1num. |  |
| --- | --- |
| PRICE No.3.6— TITLE: ARCHITECTURE AND CONSTRUCTION Carpentry works |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 3.7. Equipment for trim path '-Element from wooden logs (according to given drawings) '-A bridge from wooden beams connected by steel sinxir (according to given drawings) '-"Z" beam for moving (according to given drawings) '-straight beam for walking (according to given drawings) '-wooden device for stretching (according to given drawings) This price is for Equipment for trim path '-Element from wooden logs (according to given drawings)- 2 num. '-A bridge from wooden beams connected by steel sinxir (according to given drawings)-1 num '-"Z" beam for moving (according to given drawings)-1 num. '-straight beam for walking (according to given drawings)- 2 num '-wooden device for stretching (according to given drawings)-1 num. |  |
| --- | --- |
| PRICE No.3.7— TITLE: ARCHITECTURE AND CONSTRUCTION Carpentry works |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 3.8. Carpentry in subsidiary building that needs reconstruction '-window (wooden hands and termopan glass d=6mm) 90/140 '-wooden door 90/120 This price is for Carpentry in subsidiary building that needs reconstruction '-window (wooden hands and termopan glass d=6mm) 90/140 – 2 num. '-wooden door 90/120 – 1 num. |  |
| --- | --- |
| PRICE No.3.8— TITLE: ARCHITECTURE AND CONSTRUCTION Carpentry works |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 4.1 Supply, transport and installment of litter bins made by beech beams placed on a metal construction (the beams and the metal construction are finished with grating and coated for protection) This price is for Supply, transport and installment of litter bins made by beech beams placed on a metal construction (the beams and the metal construction are finished with grating and coated for protection) This price is for 26 num |  |
| --- | --- |
| PRICE No.4.1— TITLE: ARCHITECTURE AND CONSTRUCTION Locksmith works |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 4.2. Supply, transport and construction of benches for seating made by wooden beams from beech placed on a metal construction (the beams and the metal construction are finished with grating and coated for protection) This price is for Supply, transport and construction of benches for seating made by wooden beams from beech placed on a metal construction (the beams and the metal construction are finished with grating and coated for protection) This price is for 11 num |  |
| --- | --- |
| PRICE No.4.2— TITLE: ARCHITECTURE AND CONSTRUCTION Locksmith works |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 4.3 Supply, transport of materials and construction of informative board 2.6 m2 at the entrance made by white waterproof plywood built-in a frame made by kutiest metal 60/50 mm with thickness of wall d=3 mm placed on seven wooden piles of 10/15 sm. and height of 70 to 290sm. (the piles and the metal frame are finished with grating and coated for protection) This price is for Supply, transport of materials and construction of informative board 2.6 m2 at the entrance made by white waterproof plywood built-in a frame made by kutiest metal 60/50 mm with thickness of wall d=3 mm placed on seven wooden piles of 10/15 sm. and height of 70 to 290sm. (the piles and the metal frame are finished with grating and coated for protection) This price is for 1 num |  |
| --- | --- |
| PRICE No.4.3— TITLE: ARCHITECTURE AND CONSTRUCTION Locksmith works |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 4.4.Supply and transport of materials and construction of informative board 120/200 sm at the entrance from waterproof white plywood built-in a frame made from kutiest metal 60/50 mm thickness of wall d=3 mm placed on seven wooden piles of 10/15 sm. and height of 220sm. (the piles and the metal frame are finished with grating and coated for protection) This price is for Supply and transport of materials and construction of informative board 120/200 sm at the entrance from waterproof white plywood built-in a frame made from kutiest metal 60/50 mm thickness of wall d=3 mm placed on seven wooden piles of 10/15 sm. and height of 220sm. (the piles and the metal frame are finished with grating and coated for protection) This price is for 1 num |  |
| --- | --- |
| PRICE No.4.4— TITLE: ARCHITECTURE AND CONSTRUCTION Locksmith works |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 4.5.Supply, and transport of materials and construction of board for projection of movies with surface of 8m2 made by waterproof white plywood built-in a frame made from metal 60/50 mm d=3 mm thickness of wall placed on wooden piles and beam (25/15 sm). and joint elements from steel 0.5mm. (according to given drawings). (the piles and the metal frame are finished with grating and coated for protection) This price is for Supply, and transport of materials and construction of board for projection of movies with surface of 8m2 made by waterproof white plywood built-in a frame made from metal 60/50 mm d=3 mm thickness of wall placed on wooden piles and beam (25/15 sm). and joint elements from steel 0.5mm. (according to given drawings). (the piles and the metal frame are finished with grating and coated for protection) This price is for 1 num |  |
| --- | --- |
| PRICE No.4.5— TITLE: ARCHITECTURE AND CONSTRUCTION Locksmith works |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 4.6. Supply, transport of materials and construction of lamps (according to given drawings) This price is for Supply, transport of materials and construction of lamps (according to given drawings) This price is for 32 num |  |
| --- | --- |
| PRICE No.4.6— TITLE: ARCHITECTURE AND CONSTRUCTION Locksmith works |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 5.1. Inner and external plastering of the walls with plaster 1:3:9 This price is for Inner and external plastering of the walls with plaster 1:3:9 This price is for 77,44 m² |  |
| --- | --- |
| PRICE No.5.1 — TITLE: ARCHITECTURE AND CONSTRUCTION Plastering works |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 5.2. Whitewash of the inner areas of the walls This price is for Whitewash of the inner areas of the walls This price is for 38,72 m² |  |
| --- | --- |
| PRICE No.5.2 — TITLE: ARCHITECTURE AND CONSTRUCTION Plastering works |  |
| Price in words: | Price in numbers: |
| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 5.3 Painting of the outside areas of the walls This price is for 5.3 Painting of the outside areas of the walls This price is for 38,72 m² |  |
| PRICE No.5.3 — TITLE: ARCHITECTURE AND CONSTRUCTION Plastering works |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 6.1.Supply, transport and installment of modern equipment for amusement park for children -trampoline -toboggan -lever swing -swing fixed on a spring -classical double swing This price is for Supply, transport and installment of modern equipment for amusement park for children -Trampoline– 1 num. -Toboggan– 1 num. -lever swing-2 num -swing fixed on a spring-1 num. -classical double swing-2 num. |  |
| --- | --- |
| PRICE No..6.1 — TITLE: ARCHITECTURE AND CONSTRUCTION Other things |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 6.2. Supply, transport and installment of equipment for fitness and gymnastics -devices for exercising from a well-known manufacturer This price is for Supply, transport and installment of equipment for fitness and gymnastics -devices for exercising from a well-known manufacturer 6 num. |  |
| --- | --- |
| PRICE No.6.2 — TITLE: ARCHITECTURE AND CONSTRUCTION Other things |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 6.3 Supply and placement of rail for parking bikes This price is for Supply and placement of rail for parking bikes This price is for 2 num. |  |
| --- | --- |
| PRICE No.6.3 — TITLE: ARCHITECTURE AND CONSTRUCTION Other things |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 6.4 Goals for futsal This price is for Goals for futsal This price is for 2 num |  |
| --- | --- |
| PRICE No.6.4 — TITLE: ARCHITECTURE AND CONSTRUCTION Other things |  |
| Price in words: | Price in numbers: |

| PRICE No 2 Title: WATERWORKS AND SANITATION Previous works |  |
| --- | --- |
| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 7.1.Geodetics marking of the track with coordinates and absolute elevation The price is for Geodetics marking of the track with coordinates and absolute elevation This price is for 347 m |  |
| PRICE No.7.1 — TITLE: WATERWORKS AND SANITATION Previous works |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 8.1.Mechanical digging of trench 3,4 and 5th category (50%,30%,20%) with manual digging to the bottom This price is for Mechanical digging of trench 3,4 and 5th category (50%,30%,20%) with manual digging to the bottom This price is for 208,20 m³ |  |
| --- | --- |
| PRICE No.8.1 — TITLE: : WATERWORKS AND SANITATION Soil works |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 8.2.Supply and manual built-in of separative sand d=10см at the bottom of the trench This price is for Supply and manual built-in of separative sand d=10см at the bottom of the trench This price is for 20,82 m³ |  |
| --- | --- |
| PRICE No.8.2 — TITLE: : WATERWORKS AND SANITATION Soil works |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 8.3.Manual filling in of trench with soil by pressing to 20см above the top of the pipe This price is for Manual filling in of trench with soil by pressing to 20см above the top of the pipe This price is for 62,46 m³ |  |
| --- | --- |
| PRICE No.8.3 — TITLE: : WATERWORKS AND SANITATION Soil works |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 8.4.Mechanical placement of soil in the trench with mechanical pressing in layers from 20:30см This price is for Mechanical placement of soil in the trench with mechanical pressing in layers from 20:30см This price is for 104,10 m³ |  |
| --- | --- |
| PRICE No.8.4 — TITLE: : WATERWORKS AND SANITATION Soil works |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 8.5.Loadin and transport of soil from the place of digging to the dumping л=1,0km This price is for Loadin and transport of soil from the place of digging to the dumping л=1,0km This price is for 41,64 m³ |  |
| --- | --- |
| PRICE No.8.5 — TITLE: : WATERWORKS AND SANITATION Soil works |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 9.1.Supply and installation of water pipes from polyvinyl chloride with cap parts and screws with diameter: NP-6bars D=11 NP-6bars D=63 NP-6bars D=40 NP-6bars D=20 This price is for Supply and installation of water pipes from polyvinyl chloride with cap parts and screws with diameter: NP-6bars D=11 – 207,00 m NP-6bars D=63 – 30,00 NP-6bars D=40 – 110,00 NP-6bars D=20 – 50,00 |  |
| --- | --- |
| PRICE No.9.1 — TITLE: : WATERWORKS AND SANITATION Installation things |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 9.2 Supply and installation of: Oval closers Ф50 NP-6bars Joint pieces with cast iron SP 50/400 Reduction with brims from cast iron RP 100/50 Water meter DN 50 NP 10bars Above ground fire hydrant DN 80 Underground groove DN 80 with built-in set Sprayer from ½ Taps for drinking water This price is for Supply and installation of: Oval closers Ф50 NP-6bars – 2,00 num Joint pieces with cast iron SP 50/400- 2,00 num Reduction with brims from cast iron RP 100/50 – 1,00 num Water meter DN 50 NP 10bars – 1 num. Above ground fire hydrant DN 80- 2 num Underground groove DN 80 with built-in set – 2 num Sprayer from ½ - 40 num. Taps for drinking water – 2 num. |  |
| --- | --- |
| PRICE No.9.2 — TITLE: : WATERWORKS AND SANITATION Installation things |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 10.1 Construction of AB water meter pit complete with a lid grey G=80kgr. F520 and concrete MB-30 with dimensions 120/180/140 sm This price is for Construction of AB water meter pit complete with a lid grey G=80kgr. F520 and concrete MB-30 with dimensions 120/180/140 см The price is for 1 num |  |
| --- | --- |
| PRICE No.10.1 — TITLE: : WATERWORKS AND SANITATION Concrete and reinforced concrete things |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 10.2 Construction of anchoring blocks of piping on parts of horizontal fractures from MB-30 This price is for 10.2 Construction of anchoring blocks of piping on parts of horizontal fractures from MB-30 The price is for 1 m³ |  |
| --- | --- |
| PRICE No.10.2 — TITLE: : WATERWORKS AND SANITATION Concrete and reinforced concrete things |  |
| Price in words: | Price in numbers: |

| PRICE No 3 Title: ELECTRICS Electric connection and energetics |  |
| --- | --- |
| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 11.1 Electric energetic socket, completely with a request, submitted technical documentation and issued decision by EVN The price is for Electric energetic socket, completely with a request, submitted technical documentation and issued decision by EVN This price is for 1 num |  |
| PRICE No.11.1 — TITLE: ELECTRICS Electric connection and energetics |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 11.2 Supply, transport and delivery, with placing in previously made trench of water supply cable type PP00‐Y(NYY) 5h10mm2, from new МРО (GMRT) box placed by EVN to GRT placed in the technical area. The price is for Supply, transport and delivery, with placing in previously made trench of water supply cable type PP00‐Y(NYY) 5h10mm2, from new МРО (GMRT) box placed by EVN to GRT placed in the technical area. This price is for 17 m |  |
| --- | --- |
| PRICE No.11.2 — TITLE: ELECTRICS Electric connection and energetics |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 12.1 Supply, transport and delivery, with installation of metal box GRT with dimensions min(500х600х200мм), fixed on a wall in the technical room, with a lock, DD, from double pickled sheet, and free area of 30%, with the following elements: -ВС clamps 16(4,2.5)мм2 -АС switch 63А -time relay - timer lap -photo-relay with photo drill -contactor 10А -automatic fuses 32A 1P -automatic fuses 6‐25A 1P -tripole automatic fuse 16А 3P - Copper rail for connections (1P/3P). -small screw and unspecified material. -electric installation works The price is for Supply, transport and delivery, with installation of metal box GRT with dimensions min(500х600х200мм), fixed on a wall in the technical room, with a lock, DD, from double pickled sheet, and free area of 30%, with the following elements: 1 num. -ВС clamps 16(4,2.5)мм2 – 30 num. -АС switch 63А- 1 num -time relay - timer lap- 1 num -Photo-relay with photo drill-1 num. -contactor 10А- 3 num. -automatic fuses 32A 1P- 15 num. -automatic fuses 6‐25A 1P- 20 num. -tripole automatic fuse 16А 3P- 1 num - Copper rail for connections (1P/3P).- 1 num -Small screw and unspecified material.- 1 pau. -electric installation works- 1 num |  |
| --- | --- |
| PRICE No12.1 — TITLE: ELECTRICS Boxes |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 12.2 Supply, transport and delivery, with installation of metal box РТ‐Х (1‐3)with dimensions min(400х400х200мм), fixed on previously made concrete foundation, with a lock, DD, from double pickled sheet, for outdoor conditions, IP65, with the following elements: -VS clamps 16мм2 -RCD switch 40/0.3А 4P -automatic fuses 16A 1P -tripole automatic fuse 16А 3P -Schuko socket with cover ‐ monophase 16А -triphase socket with cover ‐ 16А -copper connection rail (1P/3P). -small screw and unspecified material -electric installation works The price is for 12.2 Supply, transport and delivery, with installation of metal box РТ‐Х (1‐3)with dimensions min(400х400х200мм), fixed on previously made concrete foundation, with a lock, DD, from double pickled sheet, for outdoor conditions, IP65, with the following elements: - 3 num. -VS clamps 16мм2 – 4 num. -RCD switch 40/0.3А 4P- 1 num. -automatic fuses 16A 1P- 3 num -tripole automatic fuse 16А 3P- 1 num. -Schuko socket with cover ‐ monophase 16А- 3 num. -triphase socket with cover ‐ 16А- 1 num -copper connection rail (1P/3P).- 1 num -small screw and unspecified material – 1 pau -electric installation works – 1num |  |
| --- | --- |
| PRICE No12.2 — TITLE: ELECTRICS Boxes |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 13.1 Digging a trench with 0,4х0,8м for water supply cable, by a machine, in soil from category III or IV and filling it up to return it in the initial condition. The price is for Digging a trench with 0,4х0,8м for water supply cable, by a machine, in soil from category III or IV and filling it up to return it in the initial condition. This price is for 8 m |  |
| --- | --- |
| PRICE No.13.1 — TITLE: ELECTRICS Grounding and construction works |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 13.2 Digging a trench with 0,4х0,6m dimensions for placing a cable for the lamps, manually or by a machine, in soil from category III or IV and filling up to return it in the initial condition 3.2. The price is for Digging a trench with 0,4х0,6м dimensions for placing a cable for the lamps, manually or by a machine, in soil from category III or IV and filling up to return it in the initial condition 3.2. This price is for 870 m |  |
| --- | --- |
| PRICE No.13.2— TITLE: ELECTRICS Grounding and construction works |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 13.3 Construction of concrete fundamentals (600х600х800мм) for the lamps, completely with digging, molding, anchoring, leveling, concreting, setting of PVC pipe Ф110мм for dragging the cables, with 3.3 final works The price is for Construction of concrete fundamentals (600х600х800мм) for the lamps, completely with digging, molding, anchoring, leveling, concreting, setting of PVC pipe Ф110мм for dragging the cables, with 3.3 final works This price is for 33 m |  |
| --- | --- |
| PRICE No.13.3 — TITLE: ELECTRICS Grounding and construction works |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 14.1 Supply, transport and delivery, and setting of zinc lace FeZn 25x5mm in previously hollowed trench, for performing protective grounding for the boxes and lamps The price is for Supply, transport and delivery, and setting of zinc lace FeZn 25x5mm in previously hollowed trench, for performing protective grounding for the boxes and lamps This price is for 750 kg |  |
| --- | --- |
| PRICE No.14.1— TITLE: ELECTRICS Grounding |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 14.2 Connection of the zinc lace with the boxes by yellow-green conduit P/F 1x10mm2, protective grounding The price is for Connection of the zinc lace with the boxes by yellow-green conduit P/F 1x10mm2, protective grounding This price is for 4 num. |  |
| --- | --- |
| PRICE No.14.2 — TITLE: ELECTRICS Grounding |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 14.3 Connection for zinc lace with the lamps The price is for Connection for zinc lace with the lamps This price is for 33 num. |  |
| --- | --- |
| PRICE No.14.3 — TITLE: ELECTRICS Grounding |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 14.4 Supply, transport and delivery, with installation of cross joint 60х60мм The price is for Supply, transport and delivery, with installation of cross joint 60х60мм This price is for 50 m |  |
| --- | --- |
| PRICE No.14.4 — TITLE: ELECTRICS Grounding |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. For all items the set of supply, transport and installation is valid 15.1 Schuko jack 230V 16A 15.2Triphase socket 380V 16A 15.3 power switcher serial 230V 10A 15.4 schuko socket with cover ‐ monophasic 16А 15.5Outdoor light (façade) 15.6 Indoor light (ceiling) 15.7 Computer connector 15.8 Surveillance system, with 2 outdoor cameras, DVR, adapters, transformer and other materials, a set with functional examination and training of the personnel 15.9 Controlling system of the access in the area, with all elements and functional examination 15.10 Communication box for external connection from external provider. 15.11 Electric connection of machine installations (watering system, air-conditioning and so on) 15.12 Electric installation works (technical room) 15.13 dose, plaster, PVC hose, small screw material The price is for: 15.1 Schuko jack 230V 16A – 6 num 15.2Triphase socket 380V 16A- 1 num 15.3 power switcher serial 230V 10A- 2 num 15.4 schuko socket with cover ‐ monophasic 16А- 1 num 15.5 Outdoor light (façade)- 2 num 15.6 Indoor light (ceiling) - 4 num. 15.7 Computer connector – 1 num 15.8 Surveillance system, with 2 outdoor cameras, DVR, adapters, transformer and other materials, a set with functional examination and training of the personnel – 1 num 15.9 Controlling system of the access in the area, with all elements and functional examination – 1 num 15.10 Communication box for external connection from external provider – 1 num 15.11 Electric connection of machine installations (watering system, air-conditioning and so on) – 2 num 15.12 Electric installation works (technical room) – 1 num 15.13 Dose, plaster, PVC hose, small screw material- 1 num |  |
| --- | --- |
| PRICE No.15(1-13) — TITLE: ELECTRICS Technical room (electric installation) |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 16.1 Cables For all items the set of supply, transport and installation is valid 16.1 PP‐Y 3x1,5mm2 16.2 PP‐Y 3x2,5mm2 16.3 PP‐Y 5x2,5mm2 16.4 PP00‐Y (NYY) 4x4mm2 16.5 PP00‐AY (NAYY) 4x16mm2 16.6 SFTP 4x2x0.25AWG cat5 The price is for: For all items the set of supply, transport and installation is valid 16.1 PP‐Y 3x1,5mm2 – 165,00 m 16.2 PP‐Y 3x2,5mm2 – 50,00m 16.3 PP‐Y 5x2,5mm2 – 15,00m 16.4 PP00‐Y (NYY) 4x4mm2 -1 057, m 16.5 PP00‐AY (NAYY) 4x16mm2 – 485,00m 16.6 SFTP 4x2x0.25AWG cat5 –20,00 m |  |
| --- | --- |
| PRICE No.16.1 — TITLE: ELECTRICS Cables |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 17.1 Supply, transport and delivery, and installation of metal lamp post 4m (for lamp) outdoor illumination The price is for: Supply, transport and delivery, and installation of metal lamp post 4m (for lamp) outdoor illumination The price is for 33 num. |  |
| --- | --- |
| PRICE No.17.1 — TITLE: ELECTRICS Outdoor illumination |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 17.2 Supply, transport and delivery of anchor plate for the metal lamp post The price is for: Supply, transport and delivery of anchor plate for the metal lamp post The price is for 33 m. |  |
| --- | --- |
| PRICE No.17.2— TITLE: ELECTRICS Outdoor illumination |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 17.3 Supply, transport and installation of holder for the metal lamp post, on which the LED light is installed The price is for Supply, transport and installation of holder for the metal lamp post, on which the LED light is installed The price is for 33 m. |  |
| --- | --- |
| PRICE No.17.3 — TITLE: ELECTRICS Outdoor illumination |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 17.4 Supply, transport and installation of LED light as type Atra 40W The price is for: Supply, transport and installation of LED light as type Atra 40W The price is for 33 m. |  |
| --- | --- |
| PRICE No.17.4 — TITLE ELECTRICS Outdoor illumination |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 17.5 Electric installation works (lamps) The price is for Electric installation works (lamps) The price is for 33 m. |  |
| --- | --- |
| PRICE No.17.5— TITLE: ELECTRICS Outdoor illumination |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 18.1 Attests for measured values of protective grounding, with issuing confirmations from the results The price is for Attests for measured values of protective grounding, with issuing confirmations from the results The price is for 6 num |  |
| --- | --- |
| PRICE No.18.1— TITLE: ELECTRICS Miscellaneous |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 18.2 Project of the condition of performance The price is Project of the condition of performance The price is for 1m. |  |
| --- | --- |
| PRICE No.18.2— TITLE: ELECTRICS Miscellaneous |  |
| Price in words: | Price in numbers: |

| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. 18.3 Unforeseen things from Items 1-7 to 5% that in amount can be performed under the order of the supervisory engineer The price is for Unforeseen things from Items 1-7 to 5% that in amount can be performed under the order of the supervisory engineer The price is for 5% |  |
| --- | --- |
| PRICE No.18.3— TITLE: ELECTRICS Miscellaneous |  |
| Price in words: | Price in numbers: |

VOLUME 4.3.4 – DAYWORKS SCHEDULE

| Item | Description | Unit | Unit price | Estimated quantities | Provisional sums [EUR] [local currency] |
| --- | --- | --- | --- | --- | --- |
|  | <for example: - Labourer |  |  |  |  |
|  | - Mason |  |  |  |  |
|  | - Driver |  |  |  |  |
|  | - … |  |  |  |  |
|  | - Bull Dozer |  |  |  |  |
|  | - Water Tank |  |  |  |  |
|  | - …> |  |  |  |  |
| Total Dayworks |  |  |  |  |  |

VOLUME 4.3.5 — DETAILED BREAKDOWN OF PRICES

A) Breakdown of the basic prices for labour 
(converted into local currency or €/hour)

| No | Qualification | Monthly pay (1) | Hourly pay (2) | Overtime (3) | Soc. security contributions (4) | Travel time (5) | Hourly total (6) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| A1 | Labourer, Cat 1 |  |  |  |  |  |  |
| A2 | Skilled worker, Cat. 3 |  |  |  |  |  |  |
| A3 | Skilled worker, Cat. 5 |  |  |  |  |  |  |
| A4 | Foreman, Cat. 7 |  |  |  |  |  |  |
| A5 | Site manager |  |  |  |  |  |  |
| A6 | HGV driver |  |  |  |  |  |  |
| A7 | Heavy plant driver |  |  |  |  |  |  |
| A8 | Clerk of works |  |  |  |  |  |  |
| A9 | Mechanic, Cat. 7 |  |  |  |  |  |  |
| A9 | Land surveyor |  |  |  |  |  |  |
| A10 | Planning draughtsman |  |  |  |  |  |  |
| A11 | … |  |  |  |  |  |  |

The above list is given by way of example and is not exhaustive.

- Salary if the employee is paid monthly.

- Hourly pay if the employee is paid hourly, otherwise monthly salary divided by the legal working hours (… hours/month).

- Average cost of overtime, i.e. hourly pay times the overtime coefficient.

Average coefficient to be applied to the salary to take account of overtime......... (= total gross salary/gross salary without overtime).

- Percentage of the social security contributions (including social welfare, leave, etc.) times the gross salary (this percentage may vary according to the category of employee).

- Average monthly or daily travel time divided by the number of daily or monthly legal working hours.

(6)	= (2) + (3) + (4) + (5).

Done at …………………………………

The tenderer (signature)

B) Breakdown of basic supply prices for materials and consumables
(in local currency or €/unit)

| No | Description | Unit | Origin (1) | Unit price origin (2) | Transport to site (3) | Tax, duties and other charges (4) | Losses |  | Total (6) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | % | Value (5) |  |
| C1 | Gasoil | L |  |  |  |  |  |  |  |
| C2 | Aggregates for concrete | m3 |  |  |  |  |  |  |  |
| C3 | Sand for concrete 2/4 | m3 |  |  |  |  |  |  |  |
| C4 | Cement | T |  |  |  |  |  |  |  |
| C5 | Steel for reinforced concrete | Kg |  |  |  |  |  |  |  |
| C6 | Annealed wire | Kg |  |  |  |  |  |  |  |
| C7 | Timber formwork | m2 |  |  |  |  |  |  |  |
| C8 | Plywood | m2 |  |  |  |  |  |  |  |
| C9 | Plasticisers | Kg |  |  |  |  |  |  |  |
| C10 | Concrete coating | Kg |  |  |  |  |  |  |  |
| C11 | Asphalt concrete | T |  |  |  |  |  |  |  |
| C13 | Inspection ladders | U |  |  |  |  |  |  |  |
| C14 | Fencing | ml |  |  |  |  |  |  |  |
| C15 | Traffic signs | U |  |  |  |  |  |  |  |
| C16 | … |  |  |  |  |  |  |  |  |

This list is not exhaustive.

- Geographical location of the supplier or quarry.

- Supply or cost price at the quarry or on delivery in the country.

- Cost price of transport from the quarry or delivery in the country to the site.

- To be borne by the firm.

- Any losses or breakages to be determined by the tenderer.

- Basic prices for supply of materials: (6) = (2) + (3) + (4) + (5).

Done at ………………………………

The tenderer (signature)

C) Breakdown of basic hourly prices for equipment 
(in local currency or €/hour)

| No | Description | Purchase date of equipment | Replacement value (RV) (1) | Duties Taxes (2) | RV + taxes (3) | nb days useful life (4) | Depreciation /day (5) | Fuel cost/day (6) | Lubricant cost/day (7) | Spare parts (SP) cost /day (8) | Lubricant & SP taxes/day (9) | Labour cost/day (10) | Total /day (11) | Average daily working time (12) | Total /hour (13) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B1 | D8N bulldozer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B2 | 14G grader |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B3 | CAT-type crawler excavator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B4 | CAT wheeled excavator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B5 | Trencher type … |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B5 | Pump |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B6 | Concrete vibrating poker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B7 | … |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

- Estimated purchase price (excl. tax) of a piece of equipment of same kind, but new, purchased in the country’s capital at the end of machine life span.

- Duties and taxes charged to the contractor at the purchase date.

- = (1)+(2)

(4)	Number of depreciation years by number of days worked per year.

(5)	Daily depreciation = (3)/(4).

(6)	Average daily fuel consumption; the cost of the fuel is given with tax.

(7)	Daily cost of lubricants (excl. tax).

(8)	Daily cost of spare parts (excl. tax).

- Duties and taxes charged to the contractor on lubricants and spare parts.

- Manpower price (man/day).

- Daily basic prices of piece of equipment = (5)+(6)+(7)+(8)+(9)+(10)..

- Hours of operations (average).

- Hourly operational price of piece of equipment = (11)/(12)

Done at ………………………………….

The Tenderer (signature)

D) Breakdown of unit prices in the price schedule
 (in local currency or €)

No of the unit price:	Output per day: m³/day

Designation of the unit price:

Estimated quantities:

| COMPONENTS OF THE PRICE EQUIPMENT, SUPPLIES AND SUBCONTRACTED WORKS DESIGNATION | Quantity or time using h/day (Q) | U | EQUIPMENT |  |  |  |  | LABOUR |  | TOTALS €/day |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | DEPRECIATION €/h (1) | MAINTENANCE €/h (2) | FUEL-LUBRICANTS €/h (3) | TOTAL €/day Qx(1+2+3) |  | Unit price | TOTAL €/day |  |
| EQUIPMENT |  | h |  |  |  |  |  |  |  |  |
|  |  | h |  |  |  |  |  |  |  |  |
| MATERIALS |  |  |  |  |  |  |  |  |  |  |
|  |  | h |  |  |  |  |  |  |  |  |
| LABOUR |  | h |  |  |  |  |  |  |  |  |
|  |  | h |  |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL €/day |  |  |  |  |  |  |
|  |  |  |  | Net cost €/m³ |  |  |  |  |  |  |

E) Detailed breakdown of site costs (Fc) 
(in local currency or €)

| Means deployed | Number (1) | Basic price (2) | Total net cost (3)=(1)+(2) |  |
| --- | --- | --- | --- | --- |
| Labour |  |  |  |  |
| A1 Site supervisor A2 Engineer A3 Clerk of works A4 Secretary A5 Drivers A6 Orderlies A7 |  |  |  |  |
| Subtotal labour |  |  |  |  |
| Equipment |  |  |  |  |
| B1 4x4 vehicle B2 Saloon car B3 Van-type people carrier B4… |  |  |  |  |
| Subtotal equipment |  |  |  |  |
| Materials |  |  |  |  |
| C1 Gasoil C2… |  |  |  |  |
| Subtotal materials |  |  |  |  |
| Other |  |  |  |  |
| D1 Rentals D2 Telephone D3… |  |  |  |  |
| Subtotal other |  |  |  |  |
| GENERAL TOTAL |  |  |  |  |

F) Detailed breakdown of the general costs (Fg)
(general overheads and profits)

| No |  | % of the bid |
| --- | --- | --- |
| 1 | Financial charges |  |
| 2 | Insurance premiums |  |
| 3 | Guarantee costs |  |
| 4 | Price revision |  |
| 5 | Direct taxes |  |
| 6 | Other expenses |  |
| 7 | Penalties |  |
| 8 | Contingencies |  |
| 9 | Office and agency expenses |  |
| 10 | Net profits |  |
| 11 | Corporation taxes |  |
| GENERAL TOTAL |  |  |

1.	Financial charges are expenses incurred outside the production process (project start-up, overdrafts, etc.).

2.	Insurance is the insurance described in Article 16 of the General Conditions for works contracts.

3.	Guarantee costs are the bank charges for issuing the guarantee (advance, performance, retention guarantee, etc.).

4.	Firms may or may not make provision under this heading, depending on their judgment concerning the quality of the price revision formula.

5.	This involves VAT in the country of works, customs duties on the imported materials, etc.

7.	If firms think there may be a delay in the works, they can take out cover against it.

8.	Contingencies here are related to uncertainties concerning tender documents, lack of knowledge of the country, etc.

9. 	General and administrative expenses are made up of firms’ fixed overheads such as accounts and quality control, management, various departments and office buildings and are common to all the firm’s works contracts. Agency expenses are expenses common to all the works in the agency’s area of responsibility.

11.	These are taxes paid in the country of the works or in the country where the firm has its place of business (for international companies).